## Transmission
|  | Wavelength (nm) | % Transmission
|  | 1150 | 37.5763
|  | 1149 | 37.5983
|  | 1148 | 37.592
|  | 1147 | 37.5697
Product Raw Data |  | 1146 | 37.5669
Ø25 mm Absorptive Neutral Density Filter, ARC: 650-1050 nm, SM1-Threaded Mount, OD: 0.3 |  | 1145 | 37.57
|  | 1144 | 37.575
Item # | NE03A-B | 1143 | 37.5636
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1142 | 37.563
|  | 1141 | 37.5618
|  | 1140 | 37.5545
|  | 1139 | 37.5554
|  | 1138 | 37.5522
|  | 1137 | 37.5551
|  | 1136 | 37.5584
Additional Information: |  | 1135 | 37.5386
Measurements Made at Normal Incidence |  | 1134 | 37.534
|  | 1133 | 37.5045
|  | 1132 | 37.4846
|  | 1131 | 37.4726
|  | 1130 | 37.5093
|  | 1129 | 37.567
|  | 1128 | 37.5741
|  | 1127 | 37.5711
|  | 1126 | 37.5681
|  | 1125 | 37.5528
|  | 1124 | 37.5287
|  | 1123 | 37.5385
|  | 1122 | 37.5421
|  | 1121 | 37.5517
|  | 1120 | 37.5133
|  | 1119 | 37.5146
|  | 1118 | 37.5255
|  | 1117 | 37.5501
|  | 1116 | 37.5956
|  | 1115 | 37.6106
|  | 1114 | 37.6089
|  | 1113 | 37.622
|  | 1112 | 37.6103
|  | 1111 | 37.6145
|  | 1110 | 37.6163
|  | 1109 | 37.5917
|  | 1108 | 37.577
|  | 1107 | 37.6028
|  | 1106 | 37.619
|  | 1105 | 37.6383
|  | 1104 | 37.6576
|  | 1103 | 37.6675
|  | 1102 | 37.6765
|  | 1101 | 37.6739
|  | 1100 | 37.6814
|  | 1099 | 37.6557
|  | 1098 | 37.6652
|  | 1097 | 37.6753
|  | 1096 | 37.6975
|  | 1095 | 37.7286
|  | 1094 | 37.7434
|  | 1093 | 37.7568
|  | 1092 | 37.768
|  | 1091 | 37.7785
|  | 1090 | 37.753
|  | 1089 | 37.7665
|  | 1088 | 37.7858
|  | 1087 | 37.8075
|  | 1086 | 37.8315
|  | 1085 | 37.8526
|  | 1084 | 37.8625
|  | 1083 | 37.857
|  | 1082 | 37.8583
|  | 1081 | 37.8735
|  | 1080 | 37.9055
|  | 1079 | 37.9314
|  | 1078 | 37.953
|  | 1077 | 37.9477
|  | 1076 | 37.9434
|  | 1075 | 37.9607
|  | 1074 | 37.9907
|  | 1073 | 38.0127
|  | 1072 | 38.0429
|  | 1071 | 38.0575
|  | 1070 | 38.074
|  | 1069 | 38.0788
|  | 1068 | 38.0624
|  | 1067 | 38.0832
|  | 1066 | 38.1088
|  | 1065 | 38.1323
|  | 1064 | 38.16
|  | 1063 | 38.1868
|  | 1062 | 38.2071
|  | 1061 | 38.2327
|  | 1060 | 38.2703
|  | 1059 | 38.2865
|  | 1058 | 38.2911
|  | 1057 | 38.2841
|  | 1056 | 38.3126
|  | 1055 | 38.3465
|  | 1054 | 38.3694
|  | 1053 | 38.3882
|  | 1052 | 38.4073
|  | 1051 | 38.4516
|  | 1050 | 38.478
|  | 1049 | 38.4822
|  | 1048 | 38.4646
|  | 1047 | 38.4891
|  | 1046 | 38.5233
|  | 1045 | 38.5559
|  | 1044 | 38.5868
|  | 1043 | 38.6286
|  | 1042 | 38.6629
|  | 1041 | 38.6742
|  | 1040 | 38.6763
|  | 1039 | 38.699
|  | 1038 | 38.7354
|  | 1037 | 38.7694
|  | 1036 | 38.8114
|  | 1035 | 38.8567
|  | 1034 | 38.8774
|  | 1033 | 38.8709
|  | 1032 | 38.8952
|  | 1031 | 38.941
|  | 1030 | 38.9754
|  | 1029 | 39.0113
|  | 1028 | 39.0408
|  | 1027 | 39.0474
|  | 1026 | 39.0724
|  | 1025 | 39.1048
|  | 1024 | 39.1363
|  | 1023 | 39.173
|  | 1022 | 39.1963
|  | 1021 | 39.2049
|  | 1020 | 39.2405
|  | 1019 | 39.2821
|  | 1018 | 39.3261
|  | 1017 | 39.3523
|  | 1016 | 39.3649
|  | 1015 | 39.3984
|  | 1014 | 39.4448
|  | 1013 | 39.4884
|  | 1012 | 39.5386
|  | 1011 | 39.5582
|  | 1010 | 39.5602
|  | 1009 | 39.5987
|  | 1008 | 39.6447
|  | 1007 | 39.688
|  | 1006 | 39.7315
|  | 1005 | 39.7679
|  | 1004 | 39.781
|  | 1003 | 39.8152
|  | 1002 | 39.8664
|  | 1001 | 39.9194
|  | 1000 | 39.9631
|  | 999 | 39.9985
|  | 998 | 40.0233
|  | 997 | 40.0561
|  | 996 | 40.1019
|  | 995 | 40.1367
|  | 994 | 40.1614
|  | 993 | 40.1987
|  | 992 | 40.2533
|  | 991 | 40.3053
|  | 990 | 40.3418
|  | 989 | 40.3752
|  | 988 | 40.4294
|  | 987 | 40.4796
|  | 986 | 40.5153
|  | 985 | 40.5559
|  | 984 | 40.5981
|  | 983 | 40.6464
|  | 982 | 40.7076
|  | 981 | 40.7476
|  | 980 | 40.7694
|  | 979 | 40.8144
|  | 978 | 40.8542
|  | 977 | 40.8915
|  | 976 | 40.9472
|  | 975 | 41.0044
|  | 974 | 41.0409
|  | 973 | 41.0702
|  | 972 | 41.1175
|  | 971 | 41.1812
|  | 970 | 41.2214
|  | 969 | 41.2456
|  | 968 | 41.3009
|  | 967 | 41.3622
|  | 966 | 41.3956
|  | 965 | 41.4442
|  | 964 | 41.5005
|  | 963 | 41.5456
|  | 962 | 41.6151
|  | 961 | 41.6785
|  | 960 | 41.6934
|  | 959 | 41.727
|  | 958 | 41.7992
|  | 957 | 41.8703
|  | 956 | 41.9283
|  | 955 | 41.9896
|  | 954 | 42.0331
|  | 953 | 42.0715
|  | 952 | 42.1379
|  | 951 | 42.2013
|  | 950 | 42.2407
|  | 949 | 42.2895
|  | 948 | 42.351
|  | 947 | 42.4108
|  | 946 | 42.465
|  | 945 | 42.5249
|  | 944 | 42.5843
|  | 943 | 42.628
|  | 942 | 42.6809
|  | 941 | 42.7537
|  | 940 | 42.8112
|  | 939 | 42.8544
|  | 938 | 42.9255
|  | 937 | 42.9697
|  | 936 | 43.0209
|  | 935 | 43.0974
|  | 934 | 43.1643
|  | 933 | 43.2116
|  | 932 | 43.2609
|  | 931 | 43.3149
|  | 930 | 43.3906
|  | 929 | 43.4554
|  | 928 | 43.5056
|  | 927 | 43.5702
|  | 926 | 43.6324
|  | 925 | 43.6772
|  | 924 | 43.7455
|  | 923 | 43.8269
|  | 922 | 43.9013
|  | 921 | 43.9578
|  | 920 | 44.0033
|  | 919 | 44.0598
|  | 918 | 44.1667
|  | 917 | 44.2509
|  | 916 | 44.3073
|  | 915 | 44.3663
|  | 914 | 44.4089
|  | 913 | 44.4788
|  | 912 | 44.5682
|  | 911 | 44.6255
|  | 910 | 44.699
|  | 909 | 44.7737
|  | 908 | 44.8473
|  | 907 | 44.9035
|  | 906 | 44.972
|  | 905 | 45.0518
|  | 904 | 45.1127
|  | 903 | 45.1813
|  | 902 | 45.2487
|  | 901 | 45.3079
|  | 900 | 45.3731
|  | 899 | 45.4665
|  | 898 | 45.5311
|  | 897 | 45.6029
|  | 896 | 45.6676
|  | 895 | 45.7225
|  | 894 | 45.788
|  | 893 | 45.8938
|  | 892 | 45.9791
|  | 891 | 46.026
|  | 890 | 46.0965
|  | 889 | 46.1921
|  | 888 | 46.2594
|  | 887 | 46.3224
|  | 886 | 46.4045
|  | 885 | 46.482
|  | 884 | 46.55
|  | 883 | 46.6249
|  | 882 | 46.6986
|  | 881 | 46.7847
|  | 880 | 46.9025
|  | 879 | 46.9739
|  | 878 | 47.042
|  | 877 | 47.1141
|  | 876 | 47.1923
|  | 875 | 47.2648
|  | 874 | 47.3537
|  | 873 | 47.4404
|  | 872 | 47.5532
|  | 871 | 47.6243
|  | 870 | 47.6927
|  | 869 | 47.7609
|  | 868 | 47.8325
|  | 867 | 47.9246
|  | 866 | 48.0287
|  | 865 | 48.1445
|  | 864 | 48.2141
|  | 863 | 48.2849
|  | 862 | 48.3591
|  | 861 | 48.4352
|  | 860 | 48.3934
|  | 859 | 48.4736
|  | 858 | 48.5694
|  | 857 | 48.6594
|  | 856 | 48.7627
|  | 855 | 48.8095
|  | 854 | 48.9173
|  | 853 | 49.0563
|  | 852 | 49.1241
|  | 851 | 49.1755
|  | 850 | 49.2654
|  | 849 | 49.381
|  | 848 | 49.5031
|  | 847 | 49.5229
|  | 846 | 49.6172
|  | 845 | 49.76
|  | 844 | 49.826
|  | 843 | 49.9426
|  | 842 | 50.0112
|  | 841 | 50.1003
|  | 840 | 50.222
|  | 839 | 50.3261
|  | 838 | 50.3927
|  | 837 | 50.4896
|  | 836 | 50.5949
|  | 835 | 50.7005
|  | 834 | 50.7927
|  | 833 | 50.9151
|  | 832 | 50.9867
|  | 831 | 51.0795
|  | 830 | 51.184
|  | 829 | 51.2692
|  | 828 | 51.4082
|  | 827 | 51.5179
|  | 826 | 51.605
|  | 825 | 51.7132
|  | 824 | 51.7994
|  | 823 | 51.8989
|  | 822 | 52.0071
|  | 821 | 52.0992
|  | 820 | 52.2078
|  | 819 | 52.3126
|  | 818 | 52.4269
|  | 817 | 52.507
|  | 816 | 52.6437
|  | 815 | 52.7505
|  | 814 | 52.8614
|  | 813 | 52.9471
|  | 812 | 53.0602
|  | 811 | 53.1571
|  | 810 | 53.2827
|  | 809 | 53.371
|  | 808 | 53.4697
|  | 807 | 53.5911
|  | 806 | 53.7032
|  | 805 | 53.7918
|  | 804 | 53.8985
|  | 803 | 54.0229
|  | 802 | 54.1394
|  | 801 | 54.2474
|  | 800 | 54.3816
|  | 799 | 54.4965
|  | 798 | 54.6117
|  | 797 | 54.7321
|  | 796 | 54.8414
|  | 795 | 54.9646
|  | 794 | 55.1073
|  | 793 | 55.2017
|  | 792 | 55.3398
|  | 791 | 55.4455
|  | 790 | 55.5695
|  | 789 | 55.7017
|  | 788 | 55.8092
|  | 787 | 55.9013
|  | 786 | 56.0652
|  | 785 | 56.1799
|  | 784 | 56.2933
|  | 783 | 56.3973
|  | 782 | 56.565
|  | 781 | 56.6188
|  | 780 | 56.7652
|  | 779 | 56.8878
|  | 778 | 56.9953
|  | 777 | 57.155
|  | 776 | 57.2417
|  | 775 | 57.3865
|  | 774 | 57.4944
|  | 773 | 57.6092
|  | 772 | 57.704
|  | 771 | 57.8481
|  | 770 | 57.9883
|  | 769 | 58.0938
|  | 768 | 58.2226
|  | 767 | 58.3234
|  | 766 | 58.4374
|  | 765 | 58.5831
|  | 764 | 58.6909
|  | 763 | 58.7993
|  | 762 | 58.9171
|  | 761 | 59.0372
|  | 760 | 59.1263
|  | 759 | 59.2628
|  | 758 | 59.385
|  | 757 | 59.4858
|  | 756 | 59.6028
|  | 755 | 59.707
|  | 754 | 59.8137
|  | 753 | 59.9387
|  | 752 | 60.0461
|  | 751 | 60.136
|  | 750 | 60.2546
|  | 749 | 60.3479
|  | 748 | 60.44
|  | 747 | 60.5559
|  | 746 | 60.7024
|  | 745 | 60.7699
|  | 744 | 60.8897
|  | 743 | 60.9699
|  | 742 | 61.0551
|  | 741 | 61.1868
|  | 740 | 61.2622
|  | 739 | 61.3548
|  | 738 | 61.4475
|  | 737 | 61.5236
|  | 736 | 61.6112
|  | 735 | 61.7318
|  | 734 | 61.8244
|  | 733 | 61.9004
|  | 732 | 61.9739
|  | 731 | 62.0392
|  | 730 | 62.1012
|  | 729 | 62.1843
|  | 728 | 62.2538
|  | 727 | 62.3061
|  | 726 | 62.3576
|  | 725 | 62.4198
|  | 724 | 62.4492
|  | 723 | 62.5242
|  | 722 | 62.5504
|  | 721 | 62.5483
|  | 720 | 62.6059
|  | 719 | 62.6235
|  | 718 | 62.6308
|  | 717 | 62.6643
|  | 716 | 62.6637
|  | 715 | 62.6375
|  | 714 | 62.6305
|  | 713 | 62.6346
|  | 712 | 62.599
|  | 711 | 62.5915
|  | 710 | 62.547
|  | 709 | 62.4825
|  | 708 | 62.4495
|  | 707 | 62.382
|  | 706 | 62.2868
|  | 705 | 62.2067
|  | 704 | 62.1129
|  | 703 | 61.9935
|  | 702 | 61.8983
|  | 701 | 61.7828
|  | 700 | 61.626
|  | 699 | 61.4955
|  | 698 | 61.3238
|  | 697 | 61.145
|  | 696 | 60.9875
|  | 695 | 60.7935
|  | 694 | 60.5847
|  | 693 | 60.3979
|  | 692 | 60.1704
|  | 691 | 59.9317
|  | 690 | 59.6897
|  | 689 | 59.4374
|  | 688 | 59.1666
|  | 687 | 58.9141
|  | 686 | 58.6388
|  | 685 | 58.3376
|  | 684 | 58.0633
|  | 683 | 57.7791
|  | 682 | 57.4743
|  | 681 | 57.2457
|  | 680 | 56.9651
|  | 679 | 56.6372
|  | 678 | 56.3686
|  | 677 | 56.1028
|  | 676 | 55.8055
|  | 675 | 55.5699
|  | 674 | 55.3374
|  | 673 | 55.0542
|  | 672 | 54.84
|  | 671 | 54.6386
|  | 670 | 54.4259
|  | 669 | 54.2491
|  | 668 | 54.0827
|  | 667 | 53.8749
|  | 666 | 53.7328
|  | 665 | 53.588
|  | 664 | 53.447
|  | 663 | 53.3528
|  | 662 | 53.2468
|  | 661 | 53.1165
|  | 660 | 53.047
|  | 659 | 52.9683
|  | 658 | 52.8931
|  | 657 | 52.8683
|  | 656 | 52.8358
|  | 655 | 52.7585
|  | 654 | 52.7296
|  | 653 | 52.7185
|  | 652 | 52.7005
|  | 651 | 52.721
|  | 650 | 52.7335
|  | 649 | 52.717
|  | 648 | 52.7404
|  | 647 | 52.781
|  | 646 | 52.799
|  | 645 | 52.8834
|  | 644 | 52.9238
|  | 643 | 52.9186
|  | 642 | 52.9837
|  | 641 | 53.0457
|  | 640 | 53.0988
|  | 639 | 53.1992
|  | 638 | 53.2575
|  | 637 | 53.2885
|  | 636 | 53.3653
|  | 635 | 53.431
|  | 634 | 53.4877
|  | 633 | 53.5715
|  | 632 | 53.615
|  | 631 | 53.6247
|  | 630 | 53.6867
|  | 629 | 53.7254
|  | 628 | 53.7549
|  | 627 | 53.8178
|  | 626 | 53.8323
|  | 625 | 53.8119
|  | 624 | 53.8202
|  | 623 | 53.82
|  | 622 | 53.8071
|  | 621 | 53.8284
|  | 620 | 53.7978
|  | 619 | 53.7391
|  | 618 | 53.7215
|  | 617 | 53.6892
|  | 616 | 53.6436
|  | 615 | 53.6103
|  | 614 | 53.5398
|  | 613 | 53.4621
|  | 612 | 53.4198
|  | 611 | 53.3723
|  | 610 | 53.3095
|  | 609 | 53.2759
|  | 608 | 53.2147
|  | 607 | 53.1215
|  | 606 | 53.0651
|  | 605 | 53.0207
|  | 604 | 52.9774
|  | 603 | 52.9429
|  | 602 | 52.8752
|  | 601 | 52.8085
|  | 600 | 52.7718
|  | 599 | 52.7228
|  | 598 | 52.6967
|  | 597 | 52.6813
|  | 596 | 52.6301
|  | 595 | 52.585
|  | 594 | 52.5753
|  | 593 | 52.5697
|  | 592 | 52.5807
|  | 591 | 52.6169
|  | 590 | 52.6309
|  | 589 | 52.6509
|  | 588 | 52.7224
|  | 587 | 52.7863
|  | 586 | 52.8644
|  | 585 | 52.9567
|  | 584 | 53.0196
|  | 583 | 53.1
|  | 582 | 53.2201
|  | 581 | 53.3396
|  | 580 | 53.4676
|  | 579 | 53.6045
|  | 578 | 53.7123
|  | 577 | 53.8197
|  | 576 | 53.9597
|  | 575 | 54.0853
|  | 574 | 54.208
|  | 573 | 54.3365
|  | 572 | 54.4359
|  | 571 | 54.5398
|  | 570 | 54.6683
|  | 569 | 54.7926
|  | 568 | 54.9231
|  | 567 | 55.0248
|  | 566 | 55.0992
|  | 565 | 55.1743
|  | 564 | 55.256
|  | 563 | 55.3351
|  | 562 | 55.4091
|  | 561 | 55.4668
|  | 560 | 55.5006
|  | 559 | 55.5438
|  | 558 | 55.5803
|  | 557 | 55.5867
|  | 556 | 55.5779
|  | 555 | 55.5688
|  | 554 | 55.5625
|  | 553 | 55.5567
|  | 552 | 55.5126
|  | 551 | 55.4451
|  | 550 | 55.3786