## Phase vs Voltage
Phase Stroke vs. Voltage
|  | Voltage (V) | Phase Stroke (π rad)
|  | 0 | 0
|  | 3 | 2.0799
|  | 6 | 2.5858
|  | 9 | 4.4845
Product Raw Data |  | 12 | 5.3581
Low-Loss Piezo-Based Fiber Phase Shifter |  | 15 | 6.6513
|  | 18 | 7.9154
Item # | FVP155L, FVP155LP | 21 | 9.0982
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 24 | 10.5102
|  | 27 | 11.7072
|  | 30 | 12.9063
|  | 33 | 14.5037
|  | 36 | 14.8977
|  | 39 | 16.0779
This data may be used in publications. However, please cite Thorlabs as the source. |  | 42 | 17.5591
|  | 45 | 18.2336
|  | 48 | 19.6392
Additional Information: |  | 51 | 20.5545
Measured with 1550 nm input light at 25 °C. The phase stroke versus voltage was measured at 1 kHz. |  | 54 | 21.4661
|  | 57 | 23.8697
|  | 60 | 24.4282
|  | 63 | 25.9792
|  | 66 | 27.06
|  | 69 | 28.0138
|  | 72 | 29.2826
|  | 75 | 30.3894
|  | 78 | 31.9866
|  | 81 | 32.2535
|  | 84 | 33.7137
|  | 87 | 35.263
|  | 90 | 36.8206
|  | 93 | 37.28
|  | 96 | 37.9879
|  | 99 | 39.1022
|  | 102 | 40.6916
|  | 105 | 42.1018
|  | 108 | 44.4278
|  | 111 | 44.7412
|  | 114 | 46.4007
|  | 117 | 46.2496
|  | 120 | 47.7451
|  | 123 | 49.2625
|  | 126 | 49.5917
|  | 129 | 51.6229
|  | 132 | 53.215
|  | 135 | 54.5982
|  | 138 | 55.7289
|  | 141 | 57.052
|  | 144 | 58.8438
|  | 147 | 58.6109
|  | 150 | 60.8821

## Phase vs Frequency
Phase Stroke vs. Frequency
|  | Frequency (kHz) | Phase Stroke (π rad)
|  | 0.25 | 2.1352
|  | 0.5 | 2.1989
|  | 0.75 | 2.1667
|  | 1 | 2.1323
Product Raw Data |  | 1.25 | 2.1199
Piezo-Based Fiber Phase Shifter |  | 1.5 | 2.1577
|  | 1.75 | 2.1653
Item # | FVP155L, FVP155LP | 2 | 2.1816
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 2.25 | 2.2024
|  | 2.5 | 2.2004
|  | 2.75 | 2.2062
|  | 3 | 2.2142
|  | 3.25 | 2.1562
|  | 3.5 | 2.3703
This data may be used in publications. However, please cite Thorlabs as the source. |  | 3.75 | 2.4155
|  | 4 | 2.2064
|  | 4.25 | 2.2026
Additional Information: |  | 4.5 | 1.8789
Measured with 1550 nm input light at 5 V and 25 °C. |  | 4.75 | 2.1095
|  | 5 | 2.0753
|  | 5.25 | 2.0539
|  | 5.5 | 2.244
|  | 5.75 | 2.1953
|  | 6 | 2.0319
|  | 6.25 | 2.084
|  | 6.5 | 1.7798
|  | 6.75 | 1.9582
|  | 7 | 2.0365
|  | 7.25 | 2.2218
|  | 7.5 | 1.8577
|  | 7.75 | 2.2312
|  | 8 | 2.312
|  | 8.25 | 2.3122
|  | 8.5 | 2.3079
|  | 8.75 | 2.3383
|  | 9 | 2.3559
|  | 9.25 | 1.928
|  | 9.5 | 1.9375
|  | 9.75 | 2.2953
|  | 10 | 2.4605
|  | 10.25 | 2.4535
|  | 10.5 | 2.3183
|  | 10.75 | 2.5719
|  | 11 | 2.5159
|  | 11.25 | 2.6588
|  | 11.5 | 2.6576
|  | 11.75 | 2.8153
|  | 12 | 2.9096
|  | 12.25 | 3.0363
|  | 12.5 | 3.1677
|  | 12.75 | 3.2798
|  | 13 | 3.0325
|  | 13.25 | 3.4446
|  | 13.5 | 3.7448
|  | 13.75 | 3.8717
|  | 14 | 4.0143
|  | 14.25 | 4.0909
|  | 14.5 | 3.8243
|  | 14.75 | 4.0353
|  | 15 | 4.1152
|  | 15.25 | 4.9054
|  | 15.5 | 5.1393
|  | 15.75 | 4.5894
|  | 16 | 4.8229
|  | 16.25 | 5.0458
|  | 16.5 | 5.5032
|  | 16.75 | 5.299
|  | 17 | 6.0546
|  | 17.25 | 6.6285
|  | 17.5 | 7.3285
|  | 17.75 | 7.2451
|  | 18 | 8.1631
|  | 18.25 | 8.4504
|  | 18.5 | 9.5117
|  | 18.75 | 11.5851
|  | 19 | 12.4996
|  | 19.25 | 13.4645
|  | 19.5 | 16.3638
|  | 19.75 | 20.4963
|  | 20 | 28.3546
|  | 20.25 | 49.9141
|  | 20.5 | 77.9889
|  | 20.75 | 77.1832
|  | 21 | 44.992
|  | 21.25 | 28.345
|  | 21.5 | 23.0284
|  | 21.75 | 18.8273
|  | 22 | 14.844
|  | 22.25 | 12.0716
|  | 22.5 | 10.8182
|  | 22.75 | 9.8312
|  | 23 | 7.8301
|  | 23.25 | 7.5551
|  | 23.5 | 6.7339
|  | 23.75 | 6.6636
|  | 24 | 5.9035
|  | 24.25 | 5.1197
|  | 24.5 | 4.969
|  | 24.75 | 4.6701
|  | 25 | 4.5075
|  | 25.25 | 4.6656
|  | 25.5 | 4.5047
|  | 25.75 | 4.0533
|  | 26 | 3.9571
|  | 26.25 | 3.3873
|  | 26.5 | 3.5243
|  | 26.75 | 2.9844
|  | 27 | 3.0901
|  | 27.25 | 2.9909
|  | 27.5 | 2.7945
|  | 27.75 | 2.9006
|  | 28 | 3.2061
|  | 28.25 | 3.3497
|  | 28.5 | 1.5901
|  | 28.75 | 1.3641
|  | 29 | 1.9971
|  | 29.25 | 1.7921
|  | 29.5 | 1.6289
|  | 29.75 | 1.6454
|  | 30 | 2.0297
|  | 30.25 | 2.0812
|  | 30.5 | 2.1011
|  | 30.75 | 1.9922
|  | 31 | 1.6476
|  | 31.25 | 2.2327
|  | 31.5 | 2.1868
|  | 31.75 | 2.3074
|  | 32 | 1.8836
|  | 32.25 | 1.6069
|  | 32.5 | 1.6785
|  | 32.75 | 1.82
|  | 33 | 2.675
|  | 33.25 | 2.2888
|  | 33.5 | 1.9346
|  | 33.75 | 2.1529
|  | 34 | 2.3038
|  | 34.25 | 2.1007
|  | 34.5 | 1.9659
|  | 34.75 | 1.6333
|  | 35 | 1.6683
|  | 35.25 | 1.9416
|  | 35.5 | 2.0698
|  | 35.75 | 1.8791
|  | 36 | 4.7843
|  | 36.25 | 2.6251
|  | 36.5 | 2.0144
|  | 36.75 | 2.6425
|  | 37 | 1.9518
|  | 37.25 | 2.4268
|  | 37.5 | 1.9597
|  | 37.75 | 1.856
|  | 38 | 1.9381
|  | 38.25 | 1.8521
|  | 38.5 | 1.9484
|  | 38.75 | 2.1727
|  | 39 | 1.9002
|  | 39.25 | 1.7074
|  | 39.5 | 1.636
|  | 39.75 | 2.0893
|  | 40 | 1.946