## Intensity Profile
LGL175 Laser Line Profile at 633 nm
|  | Angle (Degrees) | Normalized Intensity
|  | -40 | 2.2013e-06
|  | -39.9 | 5.6604e-06
|  | -39.8 | 1.8868e-05
|  | -39.7 | 3.3019e-05
Product Raw Data |  | -39.6 | 1.8082e-05
Powell Lens with 75° Fan Angle |  | -39.5 | 2.3585e-05
|  | -39.4 | 2.2013e-05
Item # | LGL175 | -39.3 | 1.8868e-05
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -39.2 | 2.2013e-05
|  | -39.1 | 1.5723e-05
|  | -39 | 1.8868e-05
|  | -38.9 | 1.6509e-05
|  | -38.8 | 2.2013e-05
|  | -38.7 | 1.8868e-05
This data may be used in publications. However, please cite Thorlabs as the source. |  | -38.6 | 1.8868e-05
|  | -38.5 | 1.9654e-05
|  | -38.4 | 2.2799e-05
Additional Information: |  | -38.3 | 1.4151e-05
Uniformity and Contained Power are specified over the central 80% of the specified fan angle. |  | -38.2 | 2.2013e-05
|  | -38.1 | 1.6509e-05
|  | -38 | 2.3585e-05
|  | -37.9 | 1.6509e-05
|  | -37.8 | 0.0792
|  | -37.7 | 0.29717
|  | -37.6 | 0.49528
|  | -37.5 | 0.64151
|  | -37.4 | 0.70283
|  | -37.3 | 0.70283
|  | -37.2 | 0.7327
|  | -37.1 | 0.71226
|  | -37 | 0.78931
|  | -36.9 | 0.84119
|  | -36.8 | 0.83176
|  | -36.7 | 0.82233
|  | -36.6 | 0.77987
|  | -36.5 | 0.72327
|  | -36.4 | 0.6934
|  | -36.3 | 0.70126
|  | -36.2 | 0.72484
|  | -36.1 | 0.73585
|  | -36 | 0.74843
|  | -35.9 | 0.7783
|  | -35.8 | 0.82547
|  | -35.7 | 0.83176
|  | -35.6 | 0.81604
|  | -35.5 | 0.80975
|  | -35.4 | 0.81132
|  | -35.3 | 0.83648
|  | -35.2 | 0.86478
|  | -35.1 | 0.87736
|  | -35 | 0.89308
|  | -34.9 | 0.90409
|  | -34.8 | 0.88994
|  | -34.7 | 0.88836
|  | -34.6 | 0.88208
|  | -34.5 | 0.86321
|  | -34.4 | 0.86164
|  | -34.3 | 0.87421
|  | -34.2 | 0.88208
|  | -34.1 | 0.88836
|  | -34 | 0.85849
|  | -33.9 | 0.83019
|  | -33.8 | 0.84119
|  | -33.7 | 0.86635
|  | -33.6 | 0.86164
|  | -33.5 | 0.83176
|  | -33.4 | 0.81761
|  | -33.3 | 0.81761
|  | -33.2 | 0.80503
|  | -33.1 | 0.80346
|  | -33 | 0.80189
|  | -32.9 | 0.79403
|  | -32.8 | 0.79717
|  | -32.7 | 0.78774
|  | -32.6 | 0.76572
|  | -32.5 | 0.76101
|  | -32.4 | 0.77044
|  | -32.3 | 0.75943
|  | -32.2 | 0.75786
|  | -32.1 | 0.76258
|  | -32 | 0.76101
|  | -31.9 | 0.76258
|  | -31.8 | 0.76887
|  | -31.7 | 0.77201
|  | -31.6 | 0.77673
|  | -31.5 | 0.7783
|  | -31.4 | 0.77201
|  | -31.3 | 0.76572
|  | -31.2 | 0.74686
|  | -31.1 | 0.72013
|  | -31 | 0.6934
|  | -30.9 | 0.67138
|  | -30.8 | 0.65881
|  | -30.7 | 0.65252
|  | -30.6 | 0.6478
|  | -30.5 | 0.6478
|  | -30.4 | 0.65252
|  | -30.3 | 0.65094
|  | -30.2 | 0.65252
|  | -30.1 | 0.64623
|  | -30 | 0.63836
|  | -29.9 | 0.64465
|  | -29.8 | 0.65409
|  | -29.7 | 0.65881
|  | -29.6 | 0.66509
|  | -29.5 | 0.66352
|  | -29.4 | 0.66509
|  | -29.3 | 0.65723
|  | -29.2 | 0.65094
|  | -29.1 | 0.66038
|  | -29 | 0.66981
|  | -28.9 | 0.67767
|  | -28.8 | 0.67138
|  | -28.7 | 0.66038
|  | -28.6 | 0.64465
|  | -28.5 | 0.63208
|  | -28.4 | 0.62264
|  | -28.3 | 0.62579
|  | -28.2 | 0.63522
|  | -28.1 | 0.64465
|  | -28 | 0.64623
|  | -27.9 | 0.64151
|  | -27.8 | 0.63522
|  | -27.7 | 0.63679
|  | -27.6 | 0.63679
|  | -27.5 | 0.62579
|  | -27.4 | 0.61792
|  | -27.3 | 0.61635
|  | -27.2 | 0.61792
|  | -27.1 | 0.61321
|  | -27 | 0.60535
|  | -26.9 | 0.59748
|  | -26.8 | 0.59591
|  | -26.7 | 0.6022
|  | -26.6 | 0.60849
|  | -26.5 | 0.62107
|  | -26.4 | 0.62579
|  | -26.3 | 0.62579
|  | -26.2 | 0.62264
|  | -26.1 | 0.61792
|  | -26 | 0.61478
|  | -25.9 | 0.62421
|  | -25.8 | 0.63836
|  | -25.7 | 0.63994
|  | -25.6 | 0.65094
|  | -25.5 | 0.65409
|  | -25.4 | 0.66195
|  | -25.3 | 0.67767
|  | -25.2 | 0.68868
|  | -25.1 | 0.6934
|  | -25 | 0.69025
|  | -24.9 | 0.68239
|  | -24.8 | 0.67138
|  | -24.7 | 0.66352
|  | -24.6 | 0.66038
|  | -24.5 | 0.66195
|  | -24.4 | 0.66195
|  | -24.3 | 0.65881
|  | -24.2 | 0.65723
|  | -24.1 | 0.65094
|  | -24 | 0.63365
|  | -23.9 | 0.62579
|  | -23.8 | 0.6305
|  | -23.7 | 0.62893
|  | -23.6 | 0.6195
|  | -23.5 | 0.62264
|  | -23.4 | 0.62893
|  | -23.3 | 0.62736
|  | -23.2 | 0.62264
|  | -23.1 | 0.62107
|  | -23 | 0.6195
|  | -22.9 | 0.61792
|  | -22.8 | 0.62107
|  | -22.7 | 0.62579
|  | -22.6 | 0.63522
|  | -22.5 | 0.64937
|  | -22.4 | 0.66038
|  | -22.3 | 0.66981
|  | -22.2 | 0.68082
|  | -22.1 | 0.6934
|  | -22 | 0.70126
|  | -21.9 | 0.71541
|  | -21.8 | 0.72642
|  | -21.7 | 0.71384
|  | -21.6 | 0.6934
|  | -21.5 | 0.68553
|  | -21.4 | 0.68553
|  | -21.3 | 0.69025
|  | -21.2 | 0.70283
|  | -21.1 | 0.70912
|  | -21 | 0.70283
|  | -20.9 | 0.69497
|  | -20.8 | 0.68553
|  | -20.7 | 0.67767
|  | -20.6 | 0.66667
|  | -20.5 | 0.65723
|  | -20.4 | 0.65409
|  | -20.3 | 0.65409
|  | -20.2 | 0.65881
|  | -20.1 | 0.66824
|  | -20 | 0.66981
|  | -19.9 | 0.66195
|  | -19.8 | 0.65409
|  | -19.7 | 0.65566
|  | -19.6 | 0.66352
|  | -19.5 | 0.67296
|  | -19.4 | 0.67767
|  | -19.3 | 0.67767
|  | -19.2 | 0.6761
|  | -19.1 | 0.6761
|  | -19 | 0.68868
|  | -18.9 | 0.69182
|  | -18.8 | 0.68396
|  | -18.7 | 0.67453
|  | -18.6 | 0.66981
|  | -18.5 | 0.67296
|  | -18.4 | 0.67925
|  | -18.3 | 0.68553
|  | -18.2 | 0.69025
|  | -18.1 | 0.6934
|  | -18 | 0.69811
|  | -17.9 | 0.69811
|  | -17.8 | 0.68868
|  | -17.7 | 0.67925
|  | -17.6 | 0.67138
|  | -17.5 | 0.66824
|  | -17.4 | 0.66352
|  | -17.3 | 0.66038
|  | -17.2 | 0.65881
|  | -17.1 | 0.65566
|  | -17 | 0.65723
|  | -16.9 | 0.65723
|  | -16.8 | 0.65566
|  | -16.7 | 0.66195
|  | -16.6 | 0.66352
|  | -16.5 | 0.66667
|  | -16.4 | 0.66981
|  | -16.3 | 0.6761
|  | -16.2 | 0.66824
|  | -16.1 | 0.66352
|  | -16 | 0.66352
|  | -15.9 | 0.66195
|  | -15.8 | 0.66195
|  | -15.7 | 0.66352
|  | -15.6 | 0.66667
|  | -15.5 | 0.66667
|  | -15.4 | 0.66352
|  | -15.3 | 0.66038
|  | -15.2 | 0.65409
|  | -15.1 | 0.65409
|  | -15 | 0.65409
|  | -14.9 | 0.64937
|  | -14.8 | 0.64623
|  | -14.7 | 0.64623
|  | -14.6 | 0.64151
|  | -14.5 | 0.6478
|  | -14.4 | 0.65881
|  | -14.3 | 0.66352
|  | -14.2 | 0.66352
|  | -14.1 | 0.65409
|  | -14 | 0.63679
|  | -13.9 | 0.6305
|  | -13.8 | 0.6305
|  | -13.7 | 0.62893
|  | -13.6 | 0.62421
|  | -13.5 | 0.61478
|  | -13.4 | 0.61321
|  | -13.3 | 0.60692
|  | -13.2 | 0.60063
|  | -13.1 | 0.59748
|  | -13 | 0.59748
|  | -12.9 | 0.60063
|  | -12.8 | 0.6022
|  | -12.7 | 0.60063
|  | -12.6 | 0.61164
|  | -12.5 | 0.6195
|  | -12.4 | 0.63679
|  | -12.3 | 0.65094
|  | -12.2 | 0.65566
|  | -12.1 | 0.66195
|  | -12 | 0.67138
|  | -11.9 | 0.66824
|  | -11.8 | 0.66038
|  | -11.7 | 0.65094
|  | -11.6 | 0.64937
|  | -11.5 | 0.64937
|  | -11.4 | 0.64937
|  | -11.3 | 0.64937
|  | -11.2 | 0.6478
|  | -11.1 | 0.65252
|  | -11 | 0.65881
|  | -10.9 | 0.66352
|  | -10.8 | 0.66981
|  | -10.7 | 0.67767
|  | -10.6 | 0.6761
|  | -10.5 | 0.6761
|  | -10.4 | 0.68396
|  | -10.3 | 0.69182
|  | -10.2 | 0.6934
|  | -10.1 | 0.68711
|  | -10 | 0.6761
|  | -9.9 | 0.66195
|  | -9.8 | 0.65094
|  | -9.7 | 0.64151
|  | -9.6 | 0.6305
|  | -9.5 | 0.62579
|  | -9.4 | 0.62579
|  | -9.3 | 0.63208
|  | -9.2 | 0.63994
|  | -9.1 | 0.6478
|  | -9 | 0.65094
|  | -8.9 | 0.6478
|  | -8.8 | 0.64937
|  | -8.7 | 0.66195
|  | -8.6 | 0.67138
|  | -8.5 | 0.68396
|  | -8.4 | 0.6934
|  | -8.3 | 0.70283
|  | -8.2 | 0.71541
|  | -8.1 | 0.72956
|  | -8 | 0.74214
|  | -7.9 | 0.74371
|  | -7.8 | 0.74528
|  | -7.7 | 0.75314
|  | -7.6 | 0.75472
|  | -7.5 | 0.75472
|  | -7.4 | 0.75314
|  | -7.3 | 0.75472
|  | -7.2 | 0.75314
|  | -7.1 | 0.74686
|  | -7 | 0.73585
|  | -6.9 | 0.72642
|  | -6.8 | 0.72484
|  | -6.7 | 0.73113
|  | -6.6 | 0.73585
|  | -6.5 | 0.73585
|  | -6.4 | 0.7327
|  | -6.3 | 0.73113
|  | -6.2 | 0.73428
|  | -6.1 | 0.72642
|  | -6 | 0.71698
|  | -5.9 | 0.71069
|  | -5.8 | 0.7044
|  | -5.7 | 0.69497
|  | -5.6 | 0.69025
|  | -5.5 | 0.68711
|  | -5.4 | 0.68239
|  | -5.3 | 0.67925
|  | -5.2 | 0.68711
|  | -5.1 | 0.69497
|  | -5 | 0.69969
|  | -4.9 | 0.7044
|  | -4.8 | 0.70597
|  | -4.7 | 0.71226
|  | -4.6 | 0.72013
|  | -4.5 | 0.72799
|  | -4.4 | 0.73899
|  | -4.3 | 0.75157
|  | -4.2 | 0.75943
|  | -4.1 | 0.76101
|  | -4 | 0.76101
|  | -3.9 | 0.75786
|  | -3.8 | 0.74843
|  | -3.7 | 0.73585
|  | -3.6 | 0.72327
|  | -3.5 | 0.71384
|  | -3.4 | 0.71226
|  | -3.3 | 0.70912
|  | -3.2 | 0.70597
|  | -3.1 | 0.70755
|  | -3 | 0.70283
|  | -2.9 | 0.6934
|  | -2.8 | 0.68553
|  | -2.7 | 0.67925
|  | -2.6 | 0.67296
|  | -2.5 | 0.66352
|  | -2.4 | 0.66352
|  | -2.3 | 0.66824
|  | -2.2 | 0.66981
|  | -2.1 | 0.67296
|  | -2 | 0.6761
|  | -1.9 | 0.68239
|  | -1.8 | 0.68239
|  | -1.7 | 0.68239
|  | -1.6 | 0.68396
|  | -1.5 | 0.67925
|  | -1.4 | 0.67453
|  | -1.3 | 0.66667
|  | -1.2 | 0.66195
|  | -1.1 | 0.66195
|  | -1 | 0.65881
|  | -0.9 | 0.65409
|  | -0.8 | 0.65566
|  | -0.7 | 0.66038
|  | -0.6 | 0.67138
|  | -0.5 | 0.68082
|  | -0.4 | 0.69025
|  | -0.3 | 0.69025
|  | -0.2 | 0.68711
|  | -0.1 | 0.68553
|  | 0 | 0.68711
|  | 0.1 | 0.68711
|  | 0.2 | 0.68711
|  | 0.3 | 0.68239
|  | 0.4 | 0.67138
|  | 0.5 | 0.66195
|  | 0.6 | 0.66509
|  | 0.7 | 0.66195
|  | 0.8 | 0.6478
|  | 0.9 | 0.63679
|  | 1 | 0.62893
|  | 1.1 | 0.61635
|  | 1.2 | 0.60849
|  | 1.3 | 0.60535
|  | 1.4 | 0.60377
|  | 1.5 | 0.59906
|  | 1.6 | 0.60063
|  | 1.7 | 0.60535
|  | 1.8 | 0.60377
|  | 1.9 | 0.60377
|  | 2 | 0.60535
|  | 2.1 | 0.60535
|  | 2.2 | 0.60063
|  | 2.3 | 0.59119
|  | 2.4 | 0.58962
|  | 2.5 | 0.58962
|  | 2.6 | 0.58962
|  | 2.7 | 0.58648
|  | 2.8 | 0.58491
|  | 2.9 | 0.58491
|  | 3 | 0.58176
|  | 3.1 | 0.57704
|  | 3.2 | 0.57233
|  | 3.3 | 0.5739
|  | 3.4 | 0.57547
|  | 3.5 | 0.57862
|  | 3.6 | 0.58491
|  | 3.7 | 0.59119
|  | 3.8 | 0.59748
|  | 3.9 | 0.59591
|  | 4 | 0.59434
|  | 4.1 | 0.59591
|  | 4.2 | 0.59119
|  | 4.3 | 0.58491
|  | 4.4 | 0.58805
|  | 4.5 | 0.59591
|  | 4.6 | 0.59748
|  | 4.7 | 0.59434
|  | 4.8 | 0.57862
|  | 4.9 | 0.56761
|  | 5 | 0.56918
|  | 5.1 | 0.5739
|  | 5.2 | 0.57547
|  | 5.3 | 0.5739
|  | 5.4 | 0.57862
|  | 5.5 | 0.58019
|  | 5.6 | 0.57862
|  | 5.7 | 0.5739
|  | 5.8 | 0.57075
|  | 5.9 | 0.56918
|  | 6 | 0.57547
|  | 6.1 | 0.58019
|  | 6.2 | 0.57704
|  | 6.3 | 0.58019
|  | 6.4 | 0.59748
|  | 6.5 | 0.61478
|  | 6.6 | 0.61635
|  | 6.7 | 0.61164
|  | 6.8 | 0.61321
|  | 6.9 | 0.61478
|  | 7 | 0.6195
|  | 7.1 | 0.62264
|  | 7.2 | 0.6195
|  | 7.3 | 0.61635
|  | 7.4 | 0.61321
|  | 7.5 | 0.60692
|  | 7.6 | 0.59748
|  | 7.7 | 0.59748
|  | 7.8 | 0.59748
|  | 7.9 | 0.59277
|  | 8 | 0.59119
|  | 8.1 | 0.59434
|  | 8.2 | 0.59277
|  | 8.3 | 0.59434
|  | 8.4 | 0.59119
|  | 8.5 | 0.59119
|  | 8.6 | 0.59434
|  | 8.7 | 0.59748
|  | 8.8 | 0.59434
|  | 8.9 | 0.58805
|  | 9 | 0.58805
|  | 9.1 | 0.58333
|  | 9.2 | 0.57547
|  | 9.3 | 0.58019
|  | 9.4 | 0.58491
|  | 9.5 | 0.58176
|  | 9.6 | 0.57704
|  | 9.7 | 0.57862
|  | 9.8 | 0.58176
|  | 9.9 | 0.57862
|  | 10 | 0.59119
|  | 10.1 | 0.60692
|  | 10.2 | 0.61164
|  | 10.3 | 0.61792
|  | 10.4 | 0.62736
|  | 10.5 | 0.62893
|  | 10.6 | 0.63522
|  | 10.7 | 0.64623
|  | 10.8 | 0.65252
|  | 10.9 | 0.66038
|  | 11 | 0.66195
|  | 11.1 | 0.65881
|  | 11.2 | 0.64937
|  | 11.3 | 0.64623
|  | 11.4 | 0.63994
|  | 11.5 | 0.6305
|  | 11.6 | 0.62421
|  | 11.7 | 0.63208
|  | 11.8 | 0.63679
|  | 11.9 | 0.63522
|  | 12 | 0.6305
|  | 12.1 | 0.61792
|  | 12.2 | 0.61164
|  | 12.3 | 0.61006
|  | 12.4 | 0.60377
|  | 12.5 | 0.60377
|  | 12.6 | 0.60377
|  | 12.7 | 0.59906
|  | 12.8 | 0.58962
|  | 12.9 | 0.58333
|  | 13 | 0.58176
|  | 13.1 | 0.58491
|  | 13.2 | 0.59434
|  | 13.3 | 0.60692
|  | 13.4 | 0.61006
|  | 13.5 | 0.61478
|  | 13.6 | 0.62579
|  | 13.7 | 0.63679
|  | 13.8 | 0.64623
|  | 13.9 | 0.65723
|  | 14 | 0.66667
|  | 14.1 | 0.66981
|  | 14.2 | 0.66667
|  | 14.3 | 0.65881
|  | 14.4 | 0.65881
|  | 14.5 | 0.66195
|  | 14.6 | 0.66981
|  | 14.7 | 0.67925
|  | 14.8 | 0.68082
|  | 14.9 | 0.68082
|  | 15 | 0.68553
|  | 15.1 | 0.6934
|  | 15.2 | 0.69969
|  | 15.3 | 0.69654
|  | 15.4 | 0.68396
|  | 15.5 | 0.67925
|  | 15.6 | 0.67925
|  | 15.7 | 0.68239
|  | 15.8 | 0.67767
|  | 15.9 | 0.66981
|  | 16 | 0.66509
|  | 16.1 | 0.65723
|  | 16.2 | 0.65566
|  | 16.3 | 0.66038
|  | 16.4 | 0.66667
|  | 16.5 | 0.66509
|  | 16.6 | 0.65566
|  | 16.7 | 0.65566
|  | 16.8 | 0.65881
|  | 16.9 | 0.65409
|  | 17 | 0.6478
|  | 17.1 | 0.64937
|  | 17.2 | 0.65566
|  | 17.3 | 0.65723
|  | 17.4 | 0.65094
|  | 17.5 | 0.64465
|  | 17.6 | 0.63994
|  | 17.7 | 0.63522
|  | 17.8 | 0.63365
|  | 17.9 | 0.64623
|  | 18 | 0.66038
|  | 18.1 | 0.6761
|  | 18.2 | 0.67767
|  | 18.3 | 0.67296
|  | 18.4 | 0.6761
|  | 18.5 | 0.68553
|  | 18.6 | 0.69025
|  | 18.7 | 0.68553
|  | 18.8 | 0.68239
|  | 18.9 | 0.68239
|  | 19 | 0.67767
|  | 19.1 | 0.67138
|  | 19.2 | 0.67296
|  | 19.3 | 0.68711
|  | 19.4 | 0.69969
|  | 19.5 | 0.69654
|  | 19.6 | 0.69025
|  | 19.7 | 0.68711
|  | 19.8 | 0.67925
|  | 19.9 | 0.66667
|  | 20 | 0.65881
|  | 20.1 | 0.65723
|  | 20.2 | 0.66038
|  | 20.3 | 0.66352
|  | 20.4 | 0.66352
|  | 20.5 | 0.66509
|  | 20.6 | 0.67453
|  | 20.7 | 0.67767
|  | 20.8 | 0.66981
|  | 20.9 | 0.65723
|  | 21 | 0.64308
|  | 21.1 | 0.63679
|  | 21.2 | 0.63836
|  | 21.3 | 0.62893
|  | 21.4 | 0.6195
|  | 21.5 | 0.62893
|  | 21.6 | 0.64308
|  | 21.7 | 0.65252
|  | 21.8 | 0.65881
|  | 21.9 | 0.65881
|  | 22 | 0.66352
|  | 22.1 | 0.66824
|  | 22.2 | 0.66667
|  | 22.3 | 0.65723
|  | 22.4 | 0.64623
|  | 22.5 | 0.64465
|  | 22.6 | 0.64151
|  | 22.7 | 0.64308
|  | 22.8 | 0.65723
|  | 22.9 | 0.67296
|  | 23 | 0.68553
|  | 23.1 | 0.69025
|  | 23.2 | 0.68396
|  | 23.3 | 0.6761
|  | 23.4 | 0.66667
|  | 23.5 | 0.65566
|  | 23.6 | 0.6478
|  | 23.7 | 0.64308
|  | 23.8 | 0.6305
|  | 23.9 | 0.61792
|  | 24 | 0.6022
|  | 24.1 | 0.59591
|  | 24.2 | 0.6022
|  | 24.3 | 0.60692
|  | 24.4 | 0.60849
|  | 24.5 | 0.60692
|  | 24.6 | 0.61164
|  | 24.7 | 0.61635
|  | 24.8 | 0.61792
|  | 24.9 | 0.62421
|  | 25 | 0.62107
|  | 25.1 | 0.61321
|  | 25.2 | 0.60692
|  | 25.3 | 0.60849
|  | 25.4 | 0.62421
|  | 25.5 | 0.6478
|  | 25.6 | 0.65723
|  | 25.7 | 0.65094
|  | 25.8 | 0.64308
|  | 25.9 | 0.63679
|  | 26 | 0.63365
|  | 26.1 | 0.62893
|  | 26.2 | 0.62579
|  | 26.3 | 0.63208
|  | 26.4 | 0.64937
|  | 26.5 | 0.66038
|  | 26.6 | 0.66667
|  | 26.7 | 0.67138
|  | 26.8 | 0.65409
|  | 26.9 | 0.63365
|  | 27 | 0.62579
|  | 27.1 | 0.6305
|  | 27.2 | 0.63679
|  | 27.3 | 0.6305
|  | 27.4 | 0.62736
|  | 27.5 | 0.63836
|  | 27.6 | 0.64937
|  | 27.7 | 0.65094
|  | 27.8 | 0.64151
|  | 27.9 | 0.63836
|  | 28 | 0.63994
|  | 28.1 | 0.63365
|  | 28.2 | 0.62421
|  | 28.3 | 0.63679
|  | 28.4 | 0.65252
|  | 28.5 | 0.65881
|  | 28.6 | 0.66038
|  | 28.7 | 0.65252
|  | 28.8 | 0.65566
|  | 28.9 | 0.67138
|  | 29 | 0.67767
|  | 29.1 | 0.66981
|  | 29.2 | 0.66981
|  | 29.3 | 0.67453
|  | 29.4 | 0.67925
|  | 29.5 | 0.69182
|  | 29.6 | 0.69497
|  | 29.7 | 0.70126
|  | 29.8 | 0.71855
|  | 29.9 | 0.71855
|  | 30 | 0.71226
|  | 30.1 | 0.71855
|  | 30.2 | 0.73742
|  | 30.3 | 0.75
|  | 30.4 | 0.76258
|  | 30.5 | 0.79088
|  | 30.6 | 0.81604
|  | 30.7 | 0.81447
|  | 30.8 | 0.80818
|  | 30.9 | 0.79088
|  | 31 | 0.76101
|  | 31.1 | 0.74057
|  | 31.2 | 0.74214
|  | 31.3 | 0.7673
|  | 31.4 | 0.78459
|  | 31.5 | 0.79088
|  | 31.6 | 0.79717
|  | 31.7 | 0.80346
|  | 31.8 | 0.81447
|  | 31.9 | 0.83805
|  | 32 | 0.86321
|  | 32.1 | 0.88365
|  | 32.2 | 0.89308
|  | 32.3 | 0.88994
|  | 32.4 | 0.88836
|  | 32.5 | 0.89151
|  | 32.6 | 0.90566
|  | 32.7 | 0.91038
|  | 32.8 | 0.89937
|  | 32.9 | 0.90409
|  | 33 | 0.91352
|  | 33.1 | 0.91667
|  | 33.2 | 0.91824
|  | 33.3 | 0.93711
|  | 33.4 | 0.97956
|  | 33.5 | 1
|  | 33.6 | 0.99214
|  | 33.7 | 0.97484
|  | 33.8 | 0.96069
|  | 33.9 | 0.96384
|  | 34 | 0.96384
|  | 34.1 | 0.94811
|  | 34.2 | 0.93082
|  | 34.3 | 0.92138
|  | 34.4 | 0.92296
|  | 34.5 | 0.94969
|  | 34.6 | 0.96541
|  | 34.7 | 0.94025
|  | 34.8 | 0.91509
|  | 34.9 | 0.90723
|  | 35 | 0.8978
|  | 35.1 | 0.88836
|  | 35.2 | 0.86321
|  | 35.3 | 0.83805
|  | 35.4 | 0.82862
|  | 35.5 | 0.82075
|  | 35.6 | 0.83333
|  | 35.7 | 0.84591
|  | 35.8 | 0.85849
|  | 35.9 | 0.8805
|  | 36 | 0.89308
|  | 36.1 | 0.90094
|  | 36.2 | 0.90723
|  | 36.3 | 0.90881
|  | 36.4 | 0.87107
|  | 36.5 | 0.80503
|  | 36.6 | 0.78459
|  | 36.7 | 0.79403
|  | 36.8 | 0.78616
|  | 36.9 | 0.82547
|  | 37 | 0.78774
|  | 37.1 | 0.72327
|  | 37.2 | 0.64937
|  | 37.3 | 0.5456
|  | 37.4 | 0.38836
|  | 37.5 | 0.18553
|  | 37.6 | 0.00024371
|  | 37.7 | 4.4025e-05
|  | 37.8 | 2.2013e-05
|  | 37.9 | 4.717e-06
|  | 38 | 4.6384e-05
|  | 38.1 | 6.2893e-06
|  | 38.2 | 2.2799e-05
|  | 38.3 | 1.4151e-05
|  | 38.4 | 2.044e-05
|  | 38.5 | 1.5723e-05
|  | 38.6 | 1.4937e-05
|  | 38.7 | 1.7296e-05
|  | 38.8 | 1.7296e-05
|  | 38.9 | 1.9654e-05
|  | 39 | 2.2013e-05
|  | 39.1 | 1.9654e-05
|  | 39.2 | 1.5723e-05
|  | 39.3 | 2.044e-05
|  | 39.4 | 1.5723e-05
|  | 39.5 | 1.9654e-05
|  | 39.6 | 2.2013e-05
|  | 39.7 | 1.8082e-05
|  | 39.8 | 2.2013e-05
|  | 39.9 | 1.6509e-05
|  | 40 | 1.4937e-05