## T153483
SN: | T153483
Item #: | PN980R2A1
Item Description: | 1x2 90:10 PM Narrowband Fiber Optic Coupler
Fiber Type: | Equivalent to PM 98-U25D
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 980
Insertion Loss (dB): | -0.65
Coupling Ratio (%): | 89
PER (dB): | 33
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 980
Insertion Loss (dB): | -9.75
Coupling Ratio (%): | 11
PER (dB): | 25