## Absorbance
Thermal Position Sensing Detectors Absorbance
|  | Wavelength (nm) | Absorbance
|  | 190 | 0.7632
|  | 200 | 0.79119
|  | 202 | 0.79388
|  | 204 | 0.80859
Product Raw Data |  | 206 | 0.81194
Thermal Position Sensing Detectors |  | 208 | 0.81662
|  | 210 | 0.80565
Item # | S440C, S442C | 212 | 0.81213
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 214 | 0.81439
|  | 216 | 0.8248
|  | 218 | 0.82467
|  | 220 | 0.83664
|  | 222 | 0.84583
|  | 224 | 0.86223
This data may be used in publications. However, please cite Thorlabs as the source. |  | 226 | 0.86797
|  | 228 | 0.87356
|  | 230 | 0.87457
Additional Information: |  | 232 | 0.87997
|  | 234 | 0.88279
|  | 236 | 0.88838
|  | 238 | 0.89157
|  | 240 | 0.89535
|  | 242 | 0.89582
|  | 244 | 0.89569
|  | 246 | 0.89618
|  | 248 | 0.89715
|  | 250 | 0.89803
|  | 252 | 0.89892
|  | 254 | 0.89753
|  | 256 | 0.89714
|  | 258 | 0.89697
|  | 260 | 0.89651
|  | 262 | 0.89527
|  | 264 | 0.8935
|  | 266 | 0.89442
|  | 268 | 0.89561
|  | 270 | 0.89633
|  | 272 | 0.89584
|  | 274 | 0.89523
|  | 276 | 0.89581
|  | 278 | 0.89632
|  | 280 | 0.89667
|  | 282 | 0.89604
|  | 284 | 0.8962
|  | 286 | 0.89789
|  | 288 | 0.90053
|  | 290 | 0.90213
|  | 292 | 0.90358
|  | 294 | 0.90349
|  | 296 | 0.9045
|  | 298 | 0.90574
|  | 300 | 0.90774
|  | 302 | 0.91007
|  | 304 | 0.91099
|  | 306 | 0.91246
|  | 308 | 0.91265
|  | 310 | 0.91433
|  | 312 | 0.91561
|  | 314 | 0.91752
|  | 316 | 0.91781
|  | 318 | 0.91739
|  | 320 | 0.91723
|  | 322 | 0.91776
|  | 324 | 0.91911
|  | 326 | 0.91989
|  | 328 | 0.92033
|  | 330 | 0.91913
|  | 332 | 0.91862
|  | 334 | 0.91865
|  | 336 | 0.92039
|  | 338 | 0.92211
|  | 340 | 0.92243
|  | 342 | 0.92185
|  | 344 | 0.92045
|  | 346 | 0.91978
|  | 348 | 0.92014
|  | 350 | 0.92111
|  | 352 | 0.92179
|  | 354 | 0.92145
|  | 356 | 0.92107
|  | 358 | 0.92056
|  | 360 | 0.92045
|  | 362 | 0.91984
|  | 364 | 0.91989
|  | 366 | 0.9203
|  | 368 | 0.92042
|  | 370 | 0.92078
|  | 372 | 0.92123
|  | 374 | 0.92293
|  | 376 | 0.92351
|  | 378 | 0.92378
|  | 380 | 0.92373
|  | 382 | 0.92435
|  | 384 | 0.92463
|  | 386 | 0.92515
|  | 388 | 0.92527
|  | 390 | 0.92594
|  | 392 | 0.92591
|  | 394 | 0.92618
|  | 396 | 0.92687
|  | 398 | 0.92741
|  | 400 | 0.92802
|  | 402 | 0.92804
|  | 404 | 0.92846
|  | 406 | 0.92881
|  | 408 | 0.92907
|  | 410 | 0.92921
|  | 412 | 0.92905
|  | 414 | 0.92953
|  | 416 | 0.92972
|  | 418 | 0.93014
|  | 420 | 0.93022
|  | 422 | 0.93041
|  | 424 | 0.93079
|  | 426 | 0.93094
|  | 428 | 0.9311
|  | 430 | 0.9311
|  | 432 | 0.93107
|  | 434 | 0.93146
|  | 436 | 0.93184
|  | 438 | 0.93209
|  | 440 | 0.93228
|  | 442 | 0.93206
|  | 444 | 0.93199
|  | 446 | 0.93198
|  | 448 | 0.93238
|  | 450 | 0.93304
|  | 452 | 0.93288
|  | 454 | 0.93244
|  | 456 | 0.93228
|  | 458 | 0.93265
|  | 460 | 0.9329
|  | 462 | 0.93297
|  | 464 | 0.9329
|  | 466 | 0.9333
|  | 468 | 0.93349
|  | 470 | 0.93353
|  | 472 | 0.93344
|  | 474 | 0.9333
|  | 476 | 0.93337
|  | 478 | 0.93334
|  | 480 | 0.93368
|  | 482 | 0.93369
|  | 484 | 0.9338
|  | 486 | 0.93343
|  | 488 | 0.9335
|  | 490 | 0.9333
|  | 492 | 0.93347
|  | 494 | 0.93357
|  | 496 | 0.93372
|  | 498 | 0.93365
|  | 500 | 0.93362
|  | 502 | 0.93356
|  | 504 | 0.93354
|  | 506 | 0.93342
|  | 508 | 0.9331
|  | 510 | 0.93313
|  | 512 | 0.93323
|  | 514 | 0.93318
|  | 516 | 0.93299
|  | 518 | 0.93292
|  | 520 | 0.93317
|  | 522 | 0.93343
|  | 524 | 0.93339
|  | 526 | 0.93356
|  | 528 | 0.93338
|  | 530 | 0.93326
|  | 532 | 0.93345
|  | 534 | 0.93341
|  | 536 | 0.93345
|  | 538 | 0.9329
|  | 540 | 0.93266
|  | 542 | 0.93269
|  | 544 | 0.93299
|  | 546 | 0.93332
|  | 548 | 0.93319
|  | 550 | 0.93317
|  | 552 | 0.93296
|  | 554 | 0.933
|  | 556 | 0.93291
|  | 558 | 0.93287
|  | 560 | 0.93284
|  | 562 | 0.93274
|  | 564 | 0.93263
|  | 566 | 0.93269
|  | 568 | 0.93225
|  | 570 | 0.93234
|  | 572 | 0.93163
|  | 574 | 0.93213
|  | 576 | 0.93215
|  | 578 | 0.93266
|  | 580 | 0.93247
|  | 582 | 0.93235
|  | 584 | 0.93233
|  | 586 | 0.93242
|  | 588 | 0.93222
|  | 590 | 0.93223
|  | 592 | 0.93192
|  | 594 | 0.932
|  | 596 | 0.93199
|  | 598 | 0.93196
|  | 600 | 0.93177
|  | 602 | 0.93176
|  | 604 | 0.93166
|  | 606 | 0.93175
|  | 608 | 0.93168
|  | 610 | 0.93215
|  | 612 | 0.93214
|  | 614 | 0.93186
|  | 616 | 0.93134
|  | 618 | 0.93137
|  | 620 | 0.93137
|  | 622 | 0.93174
|  | 624 | 0.93153
|  | 626 | 0.93178
|  | 628 | 0.93164
|  | 630 | 0.93188
|  | 632 | 0.9316
|  | 634 | 0.93146
|  | 636 | 0.93097
|  | 638 | 0.93101
|  | 640 | 0.93096
|  | 642 | 0.93115
|  | 644 | 0.93092
|  | 646 | 0.93093
|  | 648 | 0.93095
|  | 650 | 0.93088
|  | 652 | 0.93089
|  | 654 | 0.93039
|  | 656 | 0.93029
|  | 658 | 0.93028
|  | 660 | 0.93058
|  | 662 | 0.93078
|  | 664 | 0.93055
|  | 666 | 0.93088
|  | 668 | 0.93098
|  | 670 | 0.93133
|  | 672 | 0.93111
|  | 674 | 0.93086
|  | 676 | 0.93027
|  | 678 | 0.93009
|  | 680 | 0.92993
|  | 682 | 0.92983
|  | 684 | 0.93028
|  | 686 | 0.93072
|  | 688 | 0.9309
|  | 690 | 0.93082
|  | 692 | 0.93045
|  | 694 | 0.93043
|  | 696 | 0.93024
|  | 698 | 0.93007
|  | 700 | 0.93035
|  | 702 | 0.93027
|  | 704 | 0.92989
|  | 706 | 0.92938
|  | 708 | 0.92966
|  | 710 | 0.93042
|  | 712 | 0.93055
|  | 714 | 0.92996
|  | 716 | 0.9298
|  | 718 | 0.92984
|  | 720 | 0.93
|  | 722 | 0.9301
|  | 724 | 0.93012
|  | 726 | 0.9301
|  | 728 | 0.93021
|  | 730 | 0.93013
|  | 732 | 0.93008
|  | 734 | 0.93002
|  | 736 | 0.93006
|  | 738 | 0.92995
|  | 740 | 0.92999
|  | 742 | 0.93003
|  | 744 | 0.93002
|  | 746 | 0.93017
|  | 748 | 0.93015
|  | 750 | 0.93022
|  | 752 | 0.93024
|  | 754 | 0.93026
|  | 756 | 0.93019
|  | 758 | 0.93022
|  | 760 | 0.93021
|  | 762 | 0.93015
|  | 764 | 0.93009
|  | 766 | 0.93012
|  | 768 | 0.93025
|  | 770 | 0.93028
|  | 772 | 0.93034
|  | 774 | 0.93042
|  | 776 | 0.93036
|  | 778 | 0.93036
|  | 780 | 0.93026
|  | 782 | 0.93037
|  | 784 | 0.9304
|  | 786 | 0.93047
|  | 788 | 0.93041
|  | 790 | 0.93048
|  | 792 | 0.93058
|  | 794 | 0.93067
|  | 796 | 0.93056
|  | 798 | 0.93061
|  | 800 | 0.93067
|  | 802 | 0.93059
|  | 804 | 0.93045
|  | 806 | 0.93064
|  | 808 | 0.93066
|  | 810 | 0.93068
|  | 812 | 0.93056
|  | 814 | 0.93064
|  | 816 | 0.93046
|  | 818 | 0.93043
|  | 820 | 0.93026
|  | 822 | 0.93026
|  | 824 | 0.93024
|  | 826 | 0.9303
|  | 828 | 0.93023
|  | 830 | 0.9309
|  | 832 | 0.93115
|  | 834 | 0.93104
|  | 836 | 0.93105
|  | 838 | 0.93181
|  | 840 | 0.93202
|  | 842 | 0.93087
|  | 844 | 0.93139
|  | 846 | 0.93095
|  | 848 | 0.92941
|  | 850 | 0.92908
|  | 852 | 0.92953
|  | 854 | 0.92932
|  | 856 | 0.92849
|  | 858 | 0.929
|  | 860 | 0.92824
|  | 862 | 0.92839
|  | 864 | 0.92791
|  | 866 | 0.92845
|  | 868 | 0.92822
|  | 870 | 0.9271
|  | 872 | 0.92603
|  | 874 | 0.92523
|  | 876 | 0.92466
|  | 878 | 0.92428
|  | 880 | 0.92442
|  | 882 | 0.92494
|  | 884 | 0.92478
|  | 886 | 0.92502
|  | 888 | 0.92435
|  | 890 | 0.92433
|  | 892 | 0.92352
|  | 894 | 0.92272
|  | 896 | 0.92193
|  | 898 | 0.92169
|  | 900 | 0.92125
|  | 902 | 0.92092
|  | 904 | 0.92084
|  | 906 | 0.92045
|  | 908 | 0.91995
|  | 910 | 0.91927
|  | 912 | 0.91876
|  | 914 | 0.91825
|  | 916 | 0.91797
|  | 918 | 0.9176
|  | 920 | 0.91718
|  | 922 | 0.91684
|  | 924 | 0.91662
|  | 926 | 0.91599
|  | 928 | 0.91575
|  | 930 | 0.91554
|  | 932 | 0.91513
|  | 934 | 0.91482
|  | 936 | 0.91458
|  | 938 | 0.9141
|  | 940 | 0.91365
|  | 942 | 0.91324
|  | 944 | 0.9128
|  | 946 | 0.91246
|  | 948 | 0.91217
|  | 950 | 0.91185
|  | 952 | 0.91153
|  | 954 | 0.91125
|  | 956 | 0.91092
|  | 958 | 0.9106
|  | 960 | 0.91032
|  | 962 | 0.91005
|  | 964 | 0.90967
|  | 966 | 0.90941
|  | 968 | 0.90913
|  | 970 | 0.90878
|  | 972 | 0.9086
|  | 974 | 0.90834
|  | 976 | 0.908
|  | 978 | 0.90765
|  | 980 | 0.90739
|  | 982 | 0.90702
|  | 984 | 0.90666
|  | 986 | 0.90633
|  | 988 | 0.90609
|  | 990 | 0.9059
|  | 992 | 0.9057
|  | 994 | 0.90558
|  | 996 | 0.90543
|  | 998 | 0.90525
|  | 1000 | 0.90493
|  | 1002 | 0.90469
|  | 1004 | 0.9044
|  | 1006 | 0.90421
|  | 1008 | 0.90396
|  | 1010 | 0.90377
|  | 1012 | 0.90348
|  | 1014 | 0.90331
|  | 1016 | 0.90312
|  | 1018 | 0.90293
|  | 1020 | 0.90278
|  | 1022 | 0.9026
|  | 1024 | 0.90234
|  | 1026 | 0.90209
|  | 1028 | 0.90186
|  | 1030 | 0.9016
|  | 1032 | 0.90138
|  | 1034 | 0.90117
|  | 1036 | 0.90094
|  | 1038 | 0.90078
|  | 1040 | 0.90057
|  | 1042 | 0.90048
|  | 1044 | 0.90034
|  | 1046 | 0.90024
|  | 1048 | 0.90003
|  | 1050 | 0.89986
|  | 1052 | 0.89965
|  | 1054 | 0.89945
|  | 1056 | 0.89922
|  | 1058 | 0.89903
|  | 1060 | 0.89883
|  | 1062 | 0.89861
|  | 1064 | 0.89845
|  | 1066 | 0.89828
|  | 1068 | 0.89811
|  | 1070 | 0.898
|  | 1072 | 0.8979
|  | 1074 | 0.89783
|  | 1076 | 0.89772
|  | 1078 | 0.89759
|  | 1080 | 0.89744
|  | 1082 | 0.89729
|  | 1084 | 0.89708
|  | 1086 | 0.89692
|  | 1088 | 0.89684
|  | 1090 | 0.89673
|  | 1092 | 0.89659
|  | 1094 | 0.89648
|  | 1096 | 0.89642
|  | 1098 | 0.89629
|  | 1100 | 0.89612
|  | 1102 | 0.89604
|  | 1104 | 0.89596
|  | 1106 | 0.89582
|  | 1108 | 0.89569
|  | 1110 | 0.89564
|  | 1112 | 0.89554
|  | 1114 | 0.89541
|  | 1116 | 0.89529
|  | 1118 | 0.89516
|  | 1120 | 0.89502
|  | 1122 | 0.89487
|  | 1124 | 0.89474
|  | 1126 | 0.89458
|  | 1128 | 0.89448
|  | 1130 | 0.89434
|  | 1132 | 0.89419
|  | 1134 | 0.89411
|  | 1136 | 0.89403
|  | 1138 | 0.89391
|  | 1140 | 0.89381
|  | 1142 | 0.89372
|  | 1144 | 0.89357
|  | 1146 | 0.89343
|  | 1148 | 0.89332
|  | 1150 | 0.89321
|  | 1152 | 0.8931
|  | 1154 | 0.89297
|  | 1156 | 0.89287
|  | 1158 | 0.89278
|  | 1160 | 0.89267
|  | 1162 | 0.89253
|  | 1164 | 0.89242
|  | 1166 | 0.89231
|  | 1168 | 0.89224
|  | 1170 | 0.89217
|  | 1172 | 0.89213
|  | 1174 | 0.89205
|  | 1176 | 0.89198
|  | 1178 | 0.89189
|  | 1180 | 0.89175
|  | 1182 | 0.89163
|  | 1184 | 0.89154
|  | 1186 | 0.89149
|  | 1188 | 0.89138
|  | 1190 | 0.89129
|  | 1192 | 0.89121
|  | 1194 | 0.89114
|  | 1196 | 0.891
|  | 1198 | 0.89091
|  | 1200 | 0.89087
|  | 1202 | 0.89078
|  | 1204 | 0.8907
|  | 1206 | 0.89065
|  | 1208 | 0.89058
|  | 1210 | 0.8905
|  | 1212 | 0.89039
|  | 1214 | 0.89032
|  | 1216 | 0.8902
|  | 1218 | 0.89015
|  | 1220 | 0.8901
|  | 1222 | 0.8901
|  | 1224 | 0.89004
|  | 1226 | 0.89001
|  | 1228 | 0.88993
|  | 1230 | 0.88988
|  | 1232 | 0.88977
|  | 1234 | 0.88968
|  | 1236 | 0.88961
|  | 1238 | 0.88954
|  | 1240 | 0.88947
|  | 1242 | 0.88943
|  | 1244 | 0.88939
|  | 1246 | 0.88932
|  | 1248 | 0.88928
|  | 1250 | 0.88923
|  | 1252 | 0.88919
|  | 1254 | 0.88913
|  | 1256 | 0.8891
|  | 1258 | 0.88907
|  | 1260 | 0.889
|  | 1262 | 0.88889
|  | 1264 | 0.88882
|  | 1266 | 0.88871
|  | 1268 | 0.88857
|  | 1270 | 0.88847
|  | 1272 | 0.88837
|  | 1274 | 0.88834
|  | 1276 | 0.88829
|  | 1278 | 0.88825
|  | 1280 | 0.88821
|  | 1282 | 0.88819
|  | 1284 | 0.88808
|  | 1286 | 0.88802
|  | 1288 | 0.88797
|  | 1290 | 0.88787
|  | 1292 | 0.88781
|  | 1294 | 0.88771
|  | 1296 | 0.88758
|  | 1298 | 0.8875
|  | 1300 | 0.88741
|  | 1302 | 0.88734
|  | 1304 | 0.88727
|  | 1306 | 0.88723
|  | 1308 | 0.88717
|  | 1310 | 0.88711
|  | 1312 | 0.88704
|  | 1314 | 0.88695
|  | 1316 | 0.88687
|  | 1318 | 0.88675
|  | 1320 | 0.88668
|  | 1322 | 0.88654
|  | 1324 | 0.88649
|  | 1326 | 0.88635
|  | 1328 | 0.88628
|  | 1330 | 0.88617
|  | 1332 | 0.8861
|  | 1334 | 0.886
|  | 1336 | 0.88593
|  | 1338 | 0.88581
|  | 1340 | 0.88569
|  | 1342 | 0.88556
|  | 1344 | 0.88549
|  | 1346 | 0.88543
|  | 1348 | 0.88531
|  | 1350 | 0.88524
|  | 1352 | 0.88518
|  | 1354 | 0.88502
|  | 1356 | 0.88496
|  | 1358 | 0.88487
|  | 1360 | 0.88474
|  | 1362 | 0.88463
|  | 1364 | 0.88453
|  | 1366 | 0.88433
|  | 1368 | 0.88421
|  | 1370 | 0.88408
|  | 1372 | 0.8839
|  | 1374 | 0.88371
|  | 1376 | 0.88353
|  | 1378 | 0.88339
|  | 1380 | 0.88319
|  | 1382 | 0.88299
|  | 1384 | 0.88274
|  | 1386 | 0.88243
|  | 1388 | 0.88206
|  | 1390 | 0.88173
|  | 1392 | 0.88138
|  | 1394 | 0.88102
|  | 1396 | 0.88062
|  | 1398 | 0.88022
|  | 1400 | 0.87975
|  | 1402 | 0.87928
|  | 1404 | 0.87882
|  | 1406 | 0.87839
|  | 1408 | 0.87795
|  | 1410 | 0.87751
|  | 1412 | 0.87713
|  | 1414 | 0.87668
|  | 1416 | 0.8763
|  | 1418 | 0.87592
|  | 1420 | 0.87559
|  | 1422 | 0.87523
|  | 1424 | 0.87495
|  | 1426 | 0.87467
|  | 1428 | 0.8744
|  | 1430 | 0.87413
|  | 1432 | 0.87389
|  | 1434 | 0.87369
|  | 1436 | 0.87345
|  | 1438 | 0.87326
|  | 1440 | 0.87316
|  | 1442 | 0.87299
|  | 1444 | 0.87289
|  | 1446 | 0.87281
|  | 1448 | 0.87273
|  | 1450 | 0.87257
|  | 1452 | 0.87254
|  | 1454 | 0.87245
|  | 1456 | 0.8724
|  | 1458 | 0.87234
|  | 1460 | 0.87231
|  | 1462 | 0.87229
|  | 1464 | 0.87226
|  | 1466 | 0.87225
|  | 1468 | 0.87217
|  | 1470 | 0.87222
|  | 1472 | 0.87223
|  | 1474 | 0.87228
|  | 1476 | 0.87232
|  | 1478 | 0.87241
|  | 1480 | 0.8725
|  | 1482 | 0.87257
|  | 1484 | 0.87263
|  | 1486 | 0.87268
|  | 1488 | 0.8728
|  | 1490 | 0.87286
|  | 1492 | 0.87298
|  | 1494 | 0.87309
|  | 1496 | 0.8732
|  | 1498 | 0.8733
|  | 1500 | 0.87342
|  | 1502 | 0.87349
|  | 1504 | 0.87364
|  | 1506 | 0.87378
|  | 1508 | 0.87389
|  | 1510 | 0.87393
|  | 1512 | 0.87405
|  | 1514 | 0.87408
|  | 1516 | 0.87415
|  | 1518 | 0.87418
|  | 1520 | 0.87432
|  | 1522 | 0.87439
|  | 1524 | 0.87444
|  | 1526 | 0.87449
|  | 1528 | 0.87459
|  | 1530 | 0.87455
|  | 1532 | 0.87458
|  | 1534 | 0.87461
|  | 1536 | 0.8747
|  | 1538 | 0.87466
|  | 1540 | 0.87473
|  | 1542 | 0.87471
|  | 1544 | 0.87481
|  | 1546 | 0.87474
|  | 1548 | 0.87483
|  | 1550 | 0.87484
|  | 1552 | 0.87484
|  | 1554 | 0.87478
|  | 1556 | 0.87477
|  | 1558 | 0.87468
|  | 1560 | 0.87465
|  | 1562 | 0.87459
|  | 1564 | 0.87457
|  | 1566 | 0.87453
|  | 1568 | 0.87453
|  | 1570 | 0.87449
|  | 1572 | 0.87455
|  | 1574 | 0.87453
|  | 1576 | 0.87448
|  | 1578 | 0.87449
|  | 1580 | 0.87445
|  | 1582 | 0.87444
|  | 1584 | 0.87445
|  | 1586 | 0.87453
|  | 1588 | 0.87449
|  | 1590 | 0.87454
|  | 1592 | 0.87446
|  | 1594 | 0.8744
|  | 1596 | 0.87434
|  | 1598 | 0.87435
|  | 1600 | 0.87429
|  | 1602 | 0.87431
|  | 1604 | 0.8743
|  | 1606 | 0.87429
|  | 1608 | 0.87425
|  | 1610 | 0.87423
|  | 1612 | 0.87421
|  | 1614 | 0.87427
|  | 1616 | 0.87428
|  | 1618 | 0.87428
|  | 1620 | 0.87427
|  | 1622 | 0.87424
|  | 1624 | 0.87425
|  | 1626 | 0.87419
|  | 1628 | 0.8742
|  | 1630 | 0.87422
|  | 1632 | 0.87416
|  | 1634 | 0.87412
|  | 1636 | 0.87415
|  | 1638 | 0.87416
|  | 1640 | 0.87415
|  | 1642 | 0.87418
|  | 1644 | 0.87417
|  | 1646 | 0.87414
|  | 1648 | 0.87381
|  | 1650 | 0.87469
|  | 1652 | 0.87504
|  | 1654 | 0.87528
|  | 1656 | 0.87556
|  | 1658 | 0.87608
|  | 1660 | 0.87528
|  | 1662 | 0.87487
|  | 1664 | 0.87498
|  | 1666 | 0.87496
|  | 1668 | 0.87522
|  | 1670 | 0.87501
|  | 1672 | 0.87582
|  | 1674 | 0.87547
|  | 1676 | 0.87552
|  | 1678 | 0.87566
|  | 1680 | 0.87636
|  | 1682 | 0.87598
|  | 1684 | 0.87576
|  | 1686 | 0.87572
|  | 1688 | 0.87524
|  | 1690 | 0.87502
|  | 1692 | 0.87475
|  | 1694 | 0.87528
|  | 1696 | 0.87522
|  | 1698 | 0.87494
|  | 1700 | 0.87511
|  | 1702 | 0.87504
|  | 1704 | 0.87419
|  | 1706 | 0.87354
|  | 1708 | 0.8734
|  | 1710 | 0.87262
|  | 1712 | 0.87209
|  | 1714 | 0.8725
|  | 1716 | 0.87304
|  | 1718 | 0.87339
|  | 1720 | 0.87246
|  | 1722 | 0.87321
|  | 1724 | 0.87307
|  | 1726 | 0.87296
|  | 1728 | 0.87297
|  | 1730 | 0.87396
|  | 1732 | 0.87351
|  | 1734 | 0.87311
|  | 1736 | 0.873
|  | 1738 | 0.87252
|  | 1740 | 0.87257
|  | 1742 | 0.87222
|  | 1744 | 0.87229
|  | 1746 | 0.8719
|  | 1748 | 0.87077
|  | 1750 | 0.87077
|  | 1752 | 0.87059
|  | 1754 | 0.87037
|  | 1756 | 0.87051
|  | 1758 | 0.87172
|  | 1760 | 0.8714
|  | 1762 | 0.87108
|  | 1764 | 0.87078
|  | 1766 | 0.87076
|  | 1768 | 0.87023
|  | 1770 | 0.8698
|  | 1772 | 0.87059
|  | 1774 | 0.87109
|  | 1776 | 0.87047
|  | 1778 | 0.87065
|  | 1780 | 0.87096
|  | 1782 | 0.87051
|  | 1784 | 0.86993
|  | 1786 | 0.86981
|  | 1788 | 0.86979
|  | 1790 | 0.86977
|  | 1792 | 0.86954
|  | 1794 | 0.8705
|  | 1796 | 0.87103
|  | 1800 | 0.86986
|  | 1805 | 0.86968
|  | 1810 | 0.86964
|  | 1815 | 0.86999
|  | 1820 | 0.87012
|  | 1826 | 0.86982
|  | 1831 | 0.86951
|  | 1836 | 0.8693
|  | 1841 | 0.86901
|  | 1846 | 0.86898
|  | 1852 | 0.86924
|  | 1857 | 0.86939
|  | 1862 | 0.8694
|  | 1868 | 0.8695
|  | 1873 | 0.86968
|  | 1879 | 0.86973
|  | 1884 | 0.86939
|  | 1889 | 0.86881
|  | 1895 | 0.86853
|  | 1901 | 0.86863
|  | 1906 | 0.8688
|  | 1912 | 0.86888
|  | 1917 | 0.86892
|  | 1923 | 0.86879
|  | 1929 | 0.86834
|  | 1935 | 0.86793
|  | 1940 | 0.86797
|  | 1946 | 0.86824
|  | 1952 | 0.86827
|  | 1958 | 0.86808
|  | 1964 | 0.86801
|  | 1970 | 0.86811
|  | 1976 | 0.86808
|  | 1982 | 0.86792
|  | 1988 | 0.86782
|  | 1994 | 0.8677
|  | 2000 | 0.86744
|  | 2006 | 0.86728
|  | 2013 | 0.86744
|  | 2019 | 0.86765
|  | 2025 | 0.86755
|  | 2032 | 0.86719
|  | 2038 | 0.86677
|  | 2044 | 0.86654
|  | 2051 | 0.86657
|  | 2057 | 0.86667
|  | 2064 | 0.86662
|  | 2071 | 0.86645
|  | 2077 | 0.8663
|  | 2084 | 0.86621
|  | 2091 | 0.86615
|  | 2097 | 0.86615
|  | 2104 | 0.86608
|  | 2111 | 0.86589
|  | 2118 | 0.86572
|  | 2125 | 0.86566
|  | 2132 | 0.86554
|  | 2139 | 0.86533
|  | 2146 | 0.86522
|  | 2153 | 0.86533
|  | 2160 | 0.86552
|  | 2168 | 0.8656
|  | 2175 | 0.86549
|  | 2182 | 0.86528
|  | 2189 | 0.86515
|  | 2197 | 0.86506
|  | 2204 | 0.86487
|  | 2212 | 0.86462
|  | 2219 | 0.86449
|  | 2227 | 0.86447
|  | 2235 | 0.86445
|  | 2243 | 0.86444
|  | 2250 | 0.86446
|  | 2258 | 0.86449
|  | 2266 | 0.86444
|  | 2274 | 0.86429
|  | 2282 | 0.86407
|  | 2290 | 0.86391
|  | 2298 | 0.86384
|  | 2306 | 0.86375
|  | 2315 | 0.8636
|  | 2323 | 0.86348
|  | 2331 | 0.86337
|  | 2340 | 0.86323
|  | 2348 | 0.8631
|  | 2357 | 0.86303
|  | 2365 | 0.86295
|  | 2374 | 0.86279
|  | 2383 | 0.86262
|  | 2391 | 0.8625
|  | 2400 | 0.86241
|  | 2409 | 0.86233
|  | 2418 | 0.86225
|  | 2427 | 0.86217
|  | 2436 | 0.86213
|  | 2446 | 0.86204
|  | 2455 | 0.86184
|  | 2464 | 0.86168
|  | 2474 | 0.86164
|  | 2483 | 0.8616
|  | 2493 | 0.86152
|  | 2502 | 0.86141
|  | 2512 | 0.8613
|  | 2522 | 0.86127
|  | 2532 | 0.86121
|  | 2542 | 0.861
|  | 2552 | 0.86078
|  | 2562 | 0.8606
|  | 2572 | 0.86048
|  | 2582 | 0.86037
|  | 2592 | 0.86009
|  | 2603 | 0.85976
|  | 2613 | 0.85958
|  | 2624 | 0.85951
|  | 2635 | 0.85942
|  | 2645 | 0.85931
|  | 2656 | 0.8592
|  | 2667 | 0.85916
|  | 2678 | 0.85925
|  | 2689 | 0.8595
|  | 2700 | 0.85997
|  | 2712 | 0.8609
|  | 2723 | 0.86248
|  | 2735 | 0.86432
|  | 2746 | 0.86588
|  | 2758 | 0.86698
|  | 2770 | 0.86772
|  | 2781 | 0.86817
|  | 2793 | 0.86844
|  | 2806 | 0.86878
|  | 2818 | 0.86921
|  | 2830 | 0.86966
|  | 2842 | 0.87008
|  | 2855 | 0.8705
|  | 2868 | 0.87099
|  | 2880 | 0.8716
|  | 2893 | 0.87217
|  | 2906 | 0.87263
|  | 2919 | 0.87308
|  | 2933 | 0.8735
|  | 2946 | 0.87384
|  | 2959 | 0.87421
|  | 2973 | 0.87457
|  | 2987 | 0.8749
|  | 3000 | 0.8752
|  | 3014 | 0.87544
|  | 3028 | 0.87543
|  | 3043 | 0.87523
|  | 3057 | 0.87504
|  | 3072 | 0.87486
|  | 3086 | 0.87459
|  | 3101 | 0.87429
|  | 3116 | 0.87396
|  | 3131 | 0.87355
|  | 3146 | 0.87314
|  | 3161 | 0.87279
|  | 3177 | 0.87252
|  | 3193 | 0.87228
|  | 3208 | 0.87198
|  | 3224 | 0.87169
|  | 3240 | 0.87145
|  | 3257 | 0.87125
|  | 3273 | 0.8711
|  | 3290 | 0.87098
|  | 3307 | 0.8709
|  | 3324 | 0.87101
|  | 3341 | 0.8716
|  | 3358 | 0.87281
|  | 3375 | 0.87441
|  | 3393 | 0.8759
|  | 3411 | 0.8767
|  | 3429 | 0.87617
|  | 3447 | 0.8746
|  | 3466 | 0.87324
|  | 3484 | 0.87253
|  | 3503 | 0.87171
|  | 3522 | 0.87033
|  | 3541 | 0.86885
|  | 3561 | 0.86776
|  | 3581 | 0.86702
|  | 3600 | 0.86643
|  | 3621 | 0.8659
|  | 3641 | 0.86542
|  | 3662 | 0.865
|  | 3682 | 0.86459
|  | 3703 | 0.86417
|  | 3725 | 0.86372
|  | 3746 | 0.86323
|  | 3768 | 0.8627
|  | 3790 | 0.86218
|  | 3812 | 0.86167
|  | 3835 | 0.86117
|  | 3858 | 0.86072
|  | 3881 | 0.86028
|  | 3904 | 0.85981
|  | 3928 | 0.85935
|  | 3952 | 0.85894
|  | 3976 | 0.8586
|  | 4001 | 0.85831
|  | 4025 | 0.85798
|  | 4051 | 0.85754
|  | 4076 | 0.85715
|  | 4102 | 0.85694
|  | 4128 | 0.85687
|  | 4154 | 0.85672
|  | 4181 | 0.85598
|  | 4208 | 0.85438
|  | 4236 | 0.85272
|  | 4264 | 0.85225
|  | 4292 | 0.85289
|  | 4321 | 0.85397
|  | 4350 | 0.85487
|  | 4379 | 0.85522
|  | 4409 | 0.85514
|  | 4439 | 0.85491
|  | 4470 | 0.85467
|  | 4501 | 0.85436
|  | 4532 | 0.85403
|  | 4564 | 0.8537
|  | 4596 | 0.85338
|  | 4629 | 0.85307
|  | 4663 | 0.85274
|  | 4696 | 0.85242
|  | 4731 | 0.85213
|  | 4765 | 0.85182
|  | 4801 | 0.85151
|  | 4836 | 0.85124
|  | 4873 | 0.85105
|  | 4910 | 0.85093
|  | 4947 | 0.85084
|  | 4985 | 0.85077
|  | 5024 | 0.85068
|  | 5063 | 0.85061
|  | 5103 | 0.85054
|  | 5144 | 0.85042
|  | 5185 | 0.85031
|  | 5227 | 0.85034
|  | 5269 | 0.85047
|  | 5312 | 0.85059
|  | 5356 | 0.85064
|  | 5401 | 0.85071
|  | 5446 | 0.85077
|  | 5492 | 0.8508
|  | 5539 | 0.85086
|  | 5587 | 0.85102
|  | 5636 | 0.85137
|  | 5685 | 0.85195
|  | 5735 | 0.85275
|  | 5787 | 0.85367
|  | 5839 | 0.85464
|  | 5892 | 0.85574
|  | 5946 | 0.85688
|  | 6001 | 0.85787
|  | 6057 | 0.85874
|  | 6114 | 0.85969
|  | 6172 | 0.86079
|  | 6232 | 0.86173
|  | 6292 | 0.86205
|  | 6354 | 0.8616
|  | 6417 | 0.86029
|  | 6481 | 0.85815
|  | 6546 | 0.85581
|  | 6613 | 0.85395
|  | 6681 | 0.85299
|  | 6751 | 0.85293
|  | 6822 | 0.85322
|  | 6895 | 0.85315
|  | 6969 | 0.85285
|  | 7044 | 0.85307
|  | 7122 | 0.85381
|  | 7201 | 0.85417
|  | 7282 | 0.85365
|  | 7365 | 0.85265
|  | 7449 | 0.85149
|  | 7536 | 0.85039
|  | 7625 | 0.84981
|  | 7715 | 0.85021
|  | 7808 | 0.85204
|  | 7904 | 0.85592
|  | 8001 | 0.86142
|  | 8101 | 0.86619
|  | 8204 | 0.86817
|  | 8309 | 0.86767
|  | 8417 | 0.86615
|  | 8527 | 0.86448
|  | 8641 | 0.86276
|  | 8758 | 0.86068
|  | 8878 | 0.85766
|  | 9001 | 0.85308
|  | 9128 | 0.8475
|  | 9258 | 0.84309
|  | 9393 | 0.84178
|  | 9531 | 0.84351
|  | 9673 | 0.84702
|  | 9820 | 0.85096
|  | 9971 | 0.85417
|  | 10126 | 0.85608
|  | 10287 | 0.8567
|  | 10453 | 0.85632
|  | 10624 | 0.85532
|  | 10801 | 0.85398
|  | 10985 | 0.85247
|  | 11174 | 0.85095
|  | 11370 | 0.84954
|  | 11573 | 0.84831
|  | 11783 | 0.84744
|  | 12002 | 0.84703
|  | 12228 | 0.84678
|  | 12463 | 0.84619
|  | 12708 | 0.84514
|  | 12962 | 0.84395
|  | 13226 | 0.84288
|  | 13502 | 0.84201
|  | 13789 | 0.84136
|  | 14089 | 0.84084
|  | 14402 | 0.84023
|  | 14729 | 0.83958
|  | 15072 | 0.83926
|  | 15431 | 0.83942
|  | 15807 | 0.83962
|  | 16202 | 0.83956
|  | 16618 | 0.83938
|  | 17055 | 0.83925