## Transmission
TL4X-SAP Transmission
|  | Wavelength (nm) | % Transmission
|  | 2000 | 47.8986
|  | 1999 | 48.1477
|  | 1998 | 47.8786
|  | 1997 | 48.1687
Product Raw Data |  | 1996 | 48.2205
Thorlabs Super Apochromatic Microscope Objective, 4X Magnification |  | 1995 | 47.9074
|  | 1994 | 47.7779
Item # | TL4X-SAP | 1993 | 48.2395
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 1992 | 47.764
|  | 1991 | 48.1652
|  | 1990 | 47.8808
|  | 1989 | 47.8167
|  | 1988 | 47.8405
|  | 1987 | 48.096
This data may be used in publications. However, please cite Thorlabs as the source. |  | 1986 | 47.8094
|  | 1985 | 48.2817
|  | 1984 | 48.4838
Additional Information: |  | 1983 | 47.7785
|  | 1982 | 48.4153
|  | 1981 | 48.0402
|  | 1980 | 47.7725
|  | 1979 | 48.1694
|  | 1978 | 48.0047
|  | 1977 | 47.6573
|  | 1976 | 48.0537
|  | 1975 | 47.8463
|  | 1974 | 47.6537
|  | 1973 | 48.1893
|  | 1972 | 48.0307
|  | 1971 | 48.0686
|  | 1970 | 47.8732
|  | 1969 | 47.8635
|  | 1968 | 47.4013
|  | 1967 | 48.0264
|  | 1966 | 47.6628
|  | 1965 | 47.649
|  | 1964 | 47.8778
|  | 1963 | 48.0077
|  | 1962 | 47.4482
|  | 1961 | 47.8452
|  | 1960 | 47.9861
|  | 1959 | 47.7531
|  | 1958 | 47.6668
|  | 1957 | 47.6318
|  | 1956 | 47.6815
|  | 1955 | 47.9754
|  | 1954 | 47.5775
|  | 1953 | 47.3582
|  | 1952 | 47.6991
|  | 1951 | 47.6629
|  | 1950 | 47.3459
|  | 1949 | 47.387
|  | 1948 | 47.4633
|  | 1947 | 47.5643
|  | 1946 | 47.6999
|  | 1945 | 47.8448
|  | 1944 | 47.3913
|  | 1943 | 47.6504
|  | 1942 | 47.6401
|  | 1941 | 46.9842
|  | 1940 | 47.3319
|  | 1939 | 46.9981
|  | 1938 | 46.9841
|  | 1937 | 47.2355
|  | 1936 | 47.6856
|  | 1935 | 47.3639
|  | 1934 | 47.2576
|  | 1933 | 47.6045
|  | 1932 | 46.8866
|  | 1931 | 46.6247
|  | 1930 | 47.4716
|  | 1929 | 47.0564
|  | 1928 | 47.4288
|  | 1927 | 47.47
|  | 1926 | 47.098
|  | 1925 | 47.8172
|  | 1924 | 46.983
|  | 1923 | 46.737
|  | 1922 | 47.2136
|  | 1921 | 47.05
|  | 1920 | 46.5686
|  | 1919 | 47.2627
|  | 1918 | 47.2786
|  | 1917 | 46.883
|  | 1916 | 47.313
|  | 1915 | 47.3158
|  | 1914 | 46.7514
|  | 1913 | 47.1842
|  | 1912 | 46.8107
|  | 1911 | 46.4699
|  | 1910 | 46.7966
|  | 1909 | 46.9357
|  | 1908 | 47.2386
|  | 1907 | 47.1977
|  | 1906 | 47.0948
|  | 1905 | 46.8593
|  | 1904 | 47.1935
|  | 1903 | 47.2206
|  | 1902 | 46.7466
|  | 1901 | 47.0487
|  | 1900 | 47.0408
|  | 1899 | 47.0369
|  | 1898 | 47.1061
|  | 1897 | 47.6835
|  | 1896 | 46.8472
|  | 1895 | 47.1183
|  | 1894 | 47.153
|  | 1893 | 46.8546
|  | 1892 | 46.9085
|  | 1891 | 47.1313
|  | 1890 | 46.7638
|  | 1889 | 47.2807
|  | 1888 | 47.2877
|  | 1887 | 47.1497
|  | 1886 | 47.5502
|  | 1885 | 47.3612
|  | 1884 | 46.9638
|  | 1883 | 47.1926
|  | 1882 | 47.7247
|  | 1881 | 47.245
|  | 1880 | 46.6448
|  | 1879 | 46.8902
|  | 1878 | 46.967
|  | 1877 | 47.0544
|  | 1876 | 46.9673
|  | 1875 | 46.882
|  | 1874 | 47.0135
|  | 1873 | 47.3566
|  | 1872 | 46.5445
|  | 1871 | 46.437
|  | 1870 | 47.4467
|  | 1869 | 47.2061
|  | 1868 | 47.0262
|  | 1867 | 47.1071
|  | 1866 | 46.6899
|  | 1865 | 46.8698
|  | 1864 | 47.2671
|  | 1863 | 46.6896
|  | 1862 | 46.7563
|  | 1861 | 46.8356
|  | 1860 | 46.6455
|  | 1859 | 46.8288
|  | 1858 | 46.8048
|  | 1857 | 46.5061
|  | 1856 | 46.7738
|  | 1855 | 46.83
|  | 1854 | 46.5164
|  | 1853 | 46.5319
|  | 1852 | 46.6765
|  | 1851 | 46.5773
|  | 1850 | 46.8648
|  | 1849 | 46.8718
|  | 1848 | 46.3828
|  | 1847 | 46.3952
|  | 1846 | 46.6557
|  | 1845 | 46.3644
|  | 1844 | 46.6078
|  | 1843 | 46.6674
|  | 1842 | 46.5137
|  | 1841 | 46.6189
|  | 1840 | 46.5276
|  | 1839 | 46.4203
|  | 1838 | 46.52
|  | 1837 | 46.5159
|  | 1836 | 46.3301
|  | 1835 | 46.4205
|  | 1834 | 46.3837
|  | 1833 | 46.358
|  | 1832 | 46.4401
|  | 1831 | 46.3176
|  | 1830 | 46.251
|  | 1829 | 46.1271
|  | 1828 | 46.0835
|  | 1827 | 46.0105
|  | 1826 | 46.0388
|  | 1825 | 46.0593
|  | 1824 | 46.1493
|  | 1823 | 46.2698
|  | 1822 | 46.1716
|  | 1821 | 45.965
|  | 1820 | 46.1213
|  | 1819 | 46.0952
|  | 1818 | 45.8878
|  | 1817 | 45.9009
|  | 1816 | 45.8823
|  | 1815 | 45.8605
|  | 1814 | 45.898
|  | 1813 | 45.8883
|  | 1812 | 45.7099
|  | 1811 | 45.8162
|  | 1810 | 45.9837
|  | 1809 | 45.7336
|  | 1808 | 45.7314
|  | 1807 | 45.8116
|  | 1806 | 45.6219
|  | 1805 | 45.7191
|  | 1804 | 45.8636
|  | 1803 | 45.7198
|  | 1802 | 45.6607
|  | 1801 | 45.5679
|  | 1800 | 45.4416
|  | 1799 | 45.6626
|  | 1798 | 45.5791
|  | 1797 | 45.488
|  | 1796 | 45.5148
|  | 1795 | 45.4962
|  | 1794 | 45.3688
|  | 1793 | 45.3947
|  | 1792 | 45.4112
|  | 1791 | 45.2445
|  | 1790 | 45.3351
|  | 1789 | 45.3061
|  | 1788 | 45.2076
|  | 1787 | 45.273
|  | 1786 | 45.2901
|  | 1785 | 45.1433
|  | 1784 | 45.3309
|  | 1783 | 45.3034
|  | 1782 | 45.1872
|  | 1781 | 45.192
|  | 1780 | 44.9594
|  | 1779 | 44.9291
|  | 1778 | 45.0669
|  | 1777 | 45.0212
|  | 1776 | 44.9205
|  | 1775 | 44.7846
|  | 1774 | 44.7382
|  | 1773 | 44.7157
|  | 1772 | 44.6829
|  | 1771 | 44.5496
|  | 1770 | 44.6325
|  | 1769 | 44.5118
|  | 1768 | 44.4864
|  | 1767 | 44.3129
|  | 1766 | 44.2466
|  | 1765 | 44.3213
|  | 1764 | 44.3827
|  | 1763 | 44.1172
|  | 1762 | 44.0598
|  | 1761 | 43.9543
|  | 1760 | 43.9753
|  | 1759 | 43.8298
|  | 1758 | 43.8217
|  | 1757 | 43.8098
|  | 1756 | 43.626
|  | 1755 | 43.6658
|  | 1754 | 43.7378
|  | 1753 | 43.599
|  | 1752 | 43.4699
|  | 1751 | 43.3505
|  | 1750 | 43.3792
|  | 1749 | 43.4333
|  | 1748 | 43.4777
|  | 1747 | 43.3893
|  | 1746 | 43.273
|  | 1745 | 43.1691
|  | 1744 | 43.1293
|  | 1743 | 43.3261
|  | 1742 | 43.4556
|  | 1741 | 43.2815
|  | 1740 | 43.2233
|  | 1739 | 43.1939
|  | 1738 | 43.2089
|  | 1737 | 43.128
|  | 1736 | 43.3629
|  | 1735 | 43.2579
|  | 1734 | 43.2218
|  | 1733 | 43.2436
|  | 1732 | 43.0541
|  | 1731 | 43.0802
|  | 1730 | 43.3546
|  | 1729 | 43.2655
|  | 1728 | 43.2416
|  | 1727 | 43.3658
|  | 1726 | 43.1908
|  | 1725 | 43.0782
|  | 1724 | 43.2348
|  | 1723 | 43.0917
|  | 1722 | 43.1519
|  | 1721 | 43.1152
|  | 1720 | 43.0317
|  | 1719 | 43.1439
|  | 1718 | 43.2546
|  | 1717 | 43.1404
|  | 1716 | 43.1925
|  | 1715 | 43.0836
|  | 1714 | 43.2618
|  | 1713 | 43.0646
|  | 1712 | 43.3011
|  | 1711 | 43.2179
|  | 1710 | 43.1156
|  | 1709 | 42.9169
|  | 1708 | 43.0319
|  | 1707 | 42.9333
|  | 1706 | 43.0211
|  | 1705 | 42.9653
|  | 1704 | 42.9563
|  | 1703 | 43.0863
|  | 1702 | 42.8211
|  | 1701 | 42.9584
|  | 1700 | 43.1057
|  | 1699 | 42.8807
|  | 1698 | 42.8599
|  | 1697 | 42.8799
|  | 1696 | 42.9785
|  | 1695 | 42.6544
|  | 1694 | 42.9938
|  | 1693 | 43.2282
|  | 1692 | 43.1585
|  | 1691 | 42.9593
|  | 1690 | 42.9928
|  | 1689 | 42.9331
|  | 1688 | 43.1287
|  | 1687 | 42.9099
|  | 1686 | 43.0322
|  | 1685 | 43.1232
|  | 1684 | 43
|  | 1683 | 42.9663
|  | 1682 | 43.2113
|  | 1681 | 43.1472
|  | 1680 | 43.0712
|  | 1679 | 43.0673
|  | 1678 | 42.933
|  | 1677 | 42.947
|  | 1676 | 43.1393
|  | 1675 | 43.2548
|  | 1674 | 43.186
|  | 1673 | 43.2835
|  | 1672 | 42.9268
|  | 1671 | 42.9663
|  | 1670 | 43.1303
|  | 1669 | 43.0976
|  | 1668 | 42.9077
|  | 1667 | 43.0886
|  | 1666 | 43.299
|  | 1665 | 43.0081
|  | 1664 | 43.1375
|  | 1663 | 43.1675
|  | 1662 | 43.0047
|  | 1661 | 43.0877
|  | 1660 | 43.2074
|  | 1659 | 43.0363
|  | 1658 | 43.1053
|  | 1657 | 43.1599
|  | 1656 | 42.9647
|  | 1655 | 43.1525
|  | 1654 | 42.9571
|  | 1653 | 43.0779
|  | 1652 | 42.9183
|  | 1651 | 43.0386
|  | 1650 | 42.8938
|  | 1649 | 42.8824
|  | 1648 | 42.8702
|  | 1647 | 42.8249
|  | 1646 | 42.8515
|  | 1645 | 42.9324
|  | 1644 | 42.61
|  | 1643 | 42.8531
|  | 1642 | 42.7478
|  | 1641 | 42.7331
|  | 1640 | 42.6876
|  | 1639 | 42.9301
|  | 1638 | 42.6618
|  | 1637 | 42.7235
|  | 1636 | 42.6659
|  | 1635 | 42.4548
|  | 1634 | 42.5625
|  | 1633 | 42.5824
|  | 1632 | 42.3997
|  | 1631 | 42.3911
|  | 1630 | 42.7399
|  | 1629 | 42.4455
|  | 1628 | 42.5687
|  | 1627 | 42.6023
|  | 1626 | 42.4177
|  | 1625 | 42.4424
|  | 1624 | 42.4022
|  | 1623 | 42.3474
|  | 1622 | 42.2968
|  | 1621 | 42.4935
|  | 1620 | 42.4568
|  | 1619 | 42.5514
|  | 1618 | 42.3539
|  | 1617 | 42.0954
|  | 1616 | 42.242
|  | 1615 | 42.3919
|  | 1614 | 42.2726
|  | 1613 | 42.332
|  | 1612 | 42.2919
|  | 1611 | 42.1881
|  | 1610 | 42.0771
|  | 1609 | 42.2624
|  | 1608 | 42.0915
|  | 1607 | 42.2601
|  | 1606 | 42.1458
|  | 1605 | 42.1084
|  | 1604 | 41.9625
|  | 1603 | 42.2323
|  | 1602 | 41.9958
|  | 1601 | 42.1767
|  | 1600 | 42.0306
|  | 1599 | 42.0404
|  | 1598 | 41.9605
|  | 1597 | 41.9046
|  | 1596 | 41.8832
|  | 1595 | 41.9373
|  | 1594 | 41.8171
|  | 1593 | 41.777
|  | 1592 | 41.7781
|  | 1591 | 41.9044
|  | 1590 | 41.8056
|  | 1589 | 41.7798
|  | 1588 | 41.7121
|  | 1587 | 41.7238
|  | 1586 | 41.7133
|  | 1585 | 41.6625
|  | 1584 | 41.6471
|  | 1583 | 41.6535
|  | 1582 | 41.6084
|  | 1581 | 41.5318
|  | 1580 | 41.4847
|  | 1579 | 41.5734
|  | 1578 | 41.4737
|  | 1577 | 41.4736
|  | 1576 | 41.5382
|  | 1575 | 41.4335
|  | 1574 | 41.2931
|  | 1573 | 41.4553
|  | 1572 | 41.4159
|  | 1571 | 41.4073
|  | 1570 | 41.3422
|  | 1569 | 41.2419
|  | 1568 | 41.2156
|  | 1567 | 41.2993
|  | 1566 | 41.1293
|  | 1565 | 41.3355
|  | 1564 | 41.2427
|  | 1563 | 41.1093
|  | 1562 | 41.1122
|  | 1561 | 41.117
|  | 1560 | 40.9921
|  | 1559 | 41.123
|  | 1558 | 41.1148
|  | 1557 | 41.1272
|  | 1556 | 41.0899
|  | 1555 | 41.039
|  | 1554 | 40.9347
|  | 1553 | 40.9676
|  | 1552 | 40.93
|  | 1551 | 40.888
|  | 1550 | 40.9819
|  | 1549 | 40.8526
|  | 1548 | 40.6536
|  | 1547 | 40.8826
|  | 1546 | 40.9168
|  | 1545 | 40.7256
|  | 1544 | 40.8222
|  | 1543 | 40.7874
|  | 1542 | 40.7358
|  | 1541 | 40.7502
|  | 1540 | 40.6829
|  | 1539 | 40.6173
|  | 1538 | 40.7038
|  | 1537 | 40.6376
|  | 1536 | 40.5689
|  | 1535 | 40.5868
|  | 1534 | 40.5576
|  | 1533 | 40.5385
|  | 1532 | 40.5473
|  | 1531 | 40.4485
|  | 1530 | 40.4895
|  | 1529 | 40.4691
|  | 1528 | 40.3631
|  | 1527 | 40.4582
|  | 1526 | 40.4833
|  | 1525 | 40.3668
|  | 1524 | 40.31
|  | 1523 | 40.3358
|  | 1522 | 40.2959
|  | 1521 | 40.3149
|  | 1520 | 40.2946
|  | 1519 | 40.1725
|  | 1518 | 40.1721
|  | 1517 | 40.1642
|  | 1516 | 40.1631
|  | 1515 | 40.1266
|  | 1514 | 40.0549
|  | 1513 | 39.9741
|  | 1512 | 40.0311
|  | 1511 | 40.033
|  | 1510 | 39.8747
|  | 1509 | 39.882
|  | 1508 | 39.9589
|  | 1507 | 39.8973
|  | 1506 | 39.7922
|  | 1505 | 39.8488
|  | 1504 | 39.8256
|  | 1503 | 39.7304
|  | 1502 | 39.7114
|  | 1501 | 39.7564
|  | 1500 | 39.6383
|  | 1499 | 39.6034
|  | 1498 | 39.6355
|  | 1497 | 39.5472
|  | 1496 | 39.5812
|  | 1495 | 39.6276
|  | 1494 | 39.5589
|  | 1493 | 39.5374
|  | 1492 | 39.4676
|  | 1491 | 39.4808
|  | 1490 | 39.4884
|  | 1489 | 39.4827
|  | 1488 | 39.3595
|  | 1487 | 39.3378
|  | 1486 | 39.2585
|  | 1485 | 39.25
|  | 1484 | 39.3172
|  | 1483 | 39.2972
|  | 1482 | 39.1959
|  | 1481 | 39.1839
|  | 1480 | 39.0904
|  | 1479 | 39.0951
|  | 1478 | 39.167
|  | 1477 | 39.063
|  | 1476 | 38.9784
|  | 1475 | 39.027
|  | 1474 | 39.0237
|  | 1473 | 38.9563
|  | 1472 | 38.9446
|  | 1471 | 38.9043
|  | 1470 | 38.8055
|  | 1469 | 38.7965
|  | 1468 | 38.7795
|  | 1467 | 38.7153
|  | 1466 | 38.665
|  | 1465 | 38.6508
|  | 1464 | 38.641
|  | 1463 | 38.5966
|  | 1462 | 38.5096
|  | 1461 | 38.4275
|  | 1460 | 38.5149
|  | 1459 | 38.4936
|  | 1458 | 38.4131
|  | 1457 | 38.3792
|  | 1456 | 38.3112
|  | 1455 | 38.321
|  | 1454 | 38.3474
|  | 1453 | 38.2926
|  | 1452 | 38.1876
|  | 1451 | 38.1824
|  | 1450 | 38.185
|  | 1449 | 38.1869
|  | 1448 | 38.1832
|  | 1447 | 38.1377
|  | 1446 | 38.0503
|  | 1445 | 37.9987
|  | 1444 | 37.9269
|  | 1443 | 37.8727
|  | 1442 | 37.9221
|  | 1441 | 37.8648
|  | 1440 | 37.7353
|  | 1439 | 37.7355
|  | 1438 | 37.7391
|  | 1437 | 37.7631
|  | 1436 | 37.7643
|  | 1435 | 37.6071
|  | 1434 | 37.5486
|  | 1433 | 37.5956
|  | 1432 | 37.5254
|  | 1431 | 37.514
|  | 1430 | 37.5011
|  | 1429 | 37.4988
|  | 1428 | 37.4474
|  | 1427 | 37.4342
|  | 1426 | 37.4202
|  | 1425 | 37.395
|  | 1424 | 37.4586
|  | 1423 | 37.4045
|  | 1422 | 37.3886
|  | 1421 | 37.4317
|  | 1420 | 37.3953
|  | 1419 | 37.3573
|  | 1418 | 37.3711
|  | 1417 | 37.4061
|  | 1416 | 37.3698
|  | 1415 | 37.3772
|  | 1414 | 37.4104
|  | 1413 | 37.4523
|  | 1412 | 37.5346
|  | 1411 | 37.5558
|  | 1410 | 37.4964
|  | 1409 | 37.5823
|  | 1408 | 37.5735
|  | 1407 | 37.5813
|  | 1406 | 37.6357
|  | 1405 | 37.6286
|  | 1404 | 37.6728
|  | 1403 | 37.713
|  | 1402 | 37.7186
|  | 1401 | 37.746
|  | 1400 | 37.8675
|  | 1399 | 37.857
|  | 1398 | 37.8482
|  | 1397 | 37.937
|  | 1396 | 37.9025
|  | 1395 | 37.8915
|  | 1394 | 37.9355
|  | 1393 | 37.878
|  | 1392 | 37.9067
|  | 1391 | 38.0499
|  | 1390 | 38.0233
|  | 1389 | 38.0958
|  | 1388 | 38.0899
|  | 1387 | 38.0229
|  | 1386 | 37.9783
|  | 1385 | 38.1091
|  | 1384 | 38.0737
|  | 1383 | 38.005
|  | 1382 | 38.1226
|  | 1381 | 38.086
|  | 1380 | 38.1099
|  | 1379 | 38.1241
|  | 1378 | 38.1043
|  | 1377 | 38.1676
|  | 1376 | 38.1568
|  | 1375 | 38.0909
|  | 1374 | 38.033
|  | 1373 | 38.1295
|  | 1372 | 38.1126
|  | 1371 | 38.1543
|  | 1370 | 38.1081
|  | 1369 | 37.9605
|  | 1368 | 38.0639
|  | 1367 | 38.0947
|  | 1366 | 38.017
|  | 1365 | 38.1294
|  | 1364 | 38.0437
|  | 1363 | 37.9626
|  | 1362 | 37.9893
|  | 1361 | 38.1013
|  | 1360 | 38.0335
|  | 1359 | 38.0623
|  | 1358 | 37.9977
|  | 1357 | 37.9271
|  | 1356 | 37.9428
|  | 1355 | 38.0272
|  | 1354 | 38.0027
|  | 1353 | 38.0152
|  | 1352 | 37.9884
|  | 1351 | 37.9058
|  | 1350 | 37.9013
|  | 1349 | 37.9201
|  | 1348 | 37.9474
|  | 1347 | 37.9917
|  | 1346 | 37.9371
|  | 1345 | 37.8171
|  | 1344 | 37.8362
|  | 1343 | 37.9269
|  | 1342 | 37.8713
|  | 1341 | 37.8358
|  | 1340 | 37.8852
|  | 1339 | 37.799
|  | 1338 | 37.9338
|  | 1337 | 38.1099
|  | 1336 | 38.0548
|  | 1335 | 37.7611
|  | 1334 | 37.7063
|  | 1333 | 37.6162
|  | 1332 | 37.5874
|  | 1331 | 37.6069
|  | 1330 | 37.6278
|  | 1329 | 37.7331
|  | 1328 | 37.6234
|  | 1327 | 37.6386
|  | 1326 | 37.6528
|  | 1325 | 37.5906
|  | 1324 | 37.609
|  | 1323 | 37.5877
|  | 1322 | 37.5853
|  | 1321 | 37.5081
|  | 1320 | 37.4296
|  | 1319 | 37.5069
|  | 1318 | 37.5337
|  | 1317 | 37.6492
|  | 1316 | 37.6493
|  | 1315 | 37.6342
|  | 1314 | 37.6432
|  | 1313 | 37.6037
|  | 1312 | 37.633
|  | 1311 | 37.489
|  | 1310 | 37.4496
|  | 1309 | 37.423
|  | 1308 | 37.5839
|  | 1307 | 37.6079
|  | 1306 | 37.6132
|  | 1305 | 37.6482
|  | 1304 | 37.5919
|  | 1303 | 37.5408
|  | 1302 | 37.5026
|  | 1301 | 37.4336
|  | 1300 | 37.3811
|  | 1299 | 37.493
|  | 1298 | 37.4384
|  | 1297 | 37.36
|  | 1296 | 37.4568
|  | 1295 | 37.5152
|  | 1294 | 37.4155
|  | 1293 | 37.4757
|  | 1292 | 37.5534
|  | 1291 | 37.4845
|  | 1290 | 37.4403
|  | 1289 | 37.507
|  | 1288 | 37.4475
|  | 1287 | 37.4801
|  | 1286 | 37.5472
|  | 1285 | 37.5001
|  | 1284 | 37.5347
|  | 1283 | 37.5663
|  | 1282 | 37.5413
|  | 1281 | 37.4744
|  | 1280 | 37.5228
|  | 1279 | 37.522
|  | 1278 | 37.4143
|  | 1277 | 37.4604
|  | 1276 | 37.3955
|  | 1275 | 37.4415
|  | 1274 | 37.4785
|  | 1273 | 37.4196
|  | 1272 | 37.4213
|  | 1271 | 37.5046
|  | 1270 | 37.4214
|  | 1269 | 37.4224
|  | 1268 | 37.5293
|  | 1267 | 37.422
|  | 1266 | 37.4977
|  | 1265 | 37.3404
|  | 1264 | 37.3142
|  | 1263 | 37.5325
|  | 1262 | 37.4946
|  | 1261 | 37.4732
|  | 1260 | 37.3539
|  | 1259 | 37.4687
|  | 1258 | 37.3324
|  | 1257 | 37.3684
|  | 1256 | 37.5099
|  | 1255 | 37.5384
|  | 1254 | 37.5413
|  | 1253 | 37.4555
|  | 1252 | 37.3893
|  | 1251 | 37.4501
|  | 1250 | 37.4809
|  | 1249 | 37.391
|  | 1248 | 37.4732
|  | 1247 | 37.5424
|  | 1246 | 37.4273
|  | 1245 | 37.4165
|  | 1244 | 37.5393
|  | 1243 | 37.3576
|  | 1242 | 37.5656
|  | 1241 | 37.4497
|  | 1240 | 37.3821
|  | 1239 | 37.4896
|  | 1238 | 37.5481
|  | 1237 | 37.434
|  | 1236 | 37.4569
|  | 1235 | 37.5579
|  | 1234 | 37.5078
|  | 1233 | 37.4715
|  | 1232 | 37.5369
|  | 1231 | 37.5928
|  | 1230 | 37.5597
|  | 1229 | 37.5458
|  | 1228 | 37.6179
|  | 1227 | 37.5179
|  | 1226 | 37.5427
|  | 1225 | 37.4843
|  | 1224 | 37.5716
|  | 1223 | 37.5002
|  | 1222 | 37.4782
|  | 1221 | 37.4501
|  | 1220 | 37.5106
|  | 1219 | 37.452
|  | 1218 | 37.5497
|  | 1217 | 37.6896
|  | 1216 | 37.6076
|  | 1215 | 37.7228
|  | 1214 | 37.6918
|  | 1213 | 37.6178
|  | 1212 | 37.6091
|  | 1211 | 37.6246
|  | 1210 | 37.5509
|  | 1209 | 37.5871
|  | 1208 | 37.4529
|  | 1207 | 37.459
|  | 1206 | 37.618
|  | 1205 | 37.7002
|  | 1204 | 37.7756
|  | 1203 | 37.7109
|  | 1202 | 37.7274
|  | 1201 | 37.5819
|  | 1200 | 37.5626
|  | 1199 | 37.6836
|  | 1198 | 37.7189
|  | 1197 | 37.8105
|  | 1196 | 37.809
|  | 1195 | 37.733
|  | 1194 | 37.8134
|  | 1193 | 37.7684
|  | 1192 | 37.7773
|  | 1191 | 37.8233
|  | 1190 | 37.8826
|  | 1189 | 37.7777
|  | 1188 | 37.7837
|  | 1187 | 37.8739
|  | 1186 | 37.9039
|  | 1185 | 37.8294
|  | 1184 | 37.8278
|  | 1183 | 37.9127
|  | 1182 | 37.8486
|  | 1181 | 37.913
|  | 1180 | 37.968
|  | 1179 | 38.0277
|  | 1178 | 37.966
|  | 1177 | 38.0872
|  | 1176 | 38.0533
|  | 1175 | 38.0244
|  | 1174 | 38.0908
|  | 1173 | 38.0491
|  | 1172 | 38.1659
|  | 1171 | 38.246
|  | 1170 | 38.1087
|  | 1169 | 38.139
|  | 1168 | 38.1082
|  | 1167 | 38.0906
|  | 1166 | 38.2208
|  | 1165 | 38.1937
|  | 1164 | 38.2165
|  | 1163 | 38.3394
|  | 1162 | 38.4538
|  | 1161 | 38.4434
|  | 1160 | 38.5
|  | 1159 | 38.5224
|  | 1158 | 38.4288
|  | 1157 | 38.5227
|  | 1156 | 38.5731
|  | 1155 | 38.447
|  | 1154 | 38.4683
|  | 1153 | 38.4876
|  | 1152 | 38.5195
|  | 1151 | 38.6488
|  | 1150 | 38.705
|  | 1149 | 38.7399
|  | 1148 | 38.8155
|  | 1147 | 38.7793
|  | 1146 | 38.7455
|  | 1145 | 38.8114
|  | 1144 | 38.8262
|  | 1143 | 38.8212
|  | 1142 | 38.8374
|  | 1141 | 38.8433
|  | 1140 | 38.8024
|  | 1139 | 38.942
|  | 1138 | 39.0643
|  | 1137 | 39.1172
|  | 1136 | 39.1694
|  | 1135 | 39.1563
|  | 1134 | 39.1502
|  | 1133 | 39.1815
|  | 1132 | 39.2433
|  | 1131 | 39.1487
|  | 1130 | 39.1502
|  | 1129 | 39.1698
|  | 1128 | 39.2192
|  | 1127 | 39.348
|  | 1126 | 39.3595
|  | 1125 | 39.4322
|  | 1124 | 39.5757
|  | 1123 | 39.5794
|  | 1122 | 39.5281
|  | 1121 | 39.6343
|  | 1120 | 39.6432
|  | 1119 | 39.6153
|  | 1118 | 39.6307
|  | 1117 | 39.7585
|  | 1116 | 39.7245
|  | 1115 | 39.778
|  | 1114 | 39.824
|  | 1113 | 39.8293
|  | 1112 | 39.8903
|  | 1111 | 39.9417
|  | 1110 | 39.9934
|  | 1109 | 39.9875
|  | 1108 | 39.9921
|  | 1107 | 40.0243
|  | 1106 | 40.1339
|  | 1105 | 40.1618
|  | 1104 | 40.1259
|  | 1103 | 40.227
|  | 1102 | 40.2733
|  | 1101 | 40.2628
|  | 1100 | 40.3138
|  | 1099 | 40.3694
|  | 1098 | 40.3917
|  | 1097 | 40.4264
|  | 1096 | 40.4331
|  | 1095 | 40.4213
|  | 1094 | 40.57
|  | 1093 | 40.6754
|  | 1092 | 40.6647
|  | 1091 | 40.6985
|  | 1090 | 40.7553
|  | 1089 | 40.7535
|  | 1088 | 40.7394
|  | 1087 | 40.8197
|  | 1086 | 40.9413
|  | 1085 | 41.0148
|  | 1084 | 41.0797
|  | 1083 | 41.0705
|  | 1082 | 41.1446
|  | 1081 | 41.1918
|  | 1080 | 41.1745
|  | 1079 | 41.2577
|  | 1078 | 41.3139
|  | 1077 | 41.4237
|  | 1076 | 41.5189
|  | 1075 | 41.487
|  | 1074 | 41.5229
|  | 1073 | 41.5881
|  | 1072 | 41.6694
|  | 1071 | 41.7366
|  | 1070 | 41.7071
|  | 1069 | 41.7277
|  | 1068 | 41.8762
|  | 1067 | 41.97
|  | 1066 | 42.0337
|  | 1065 | 42.0836
|  | 1064 | 42.1157
|  | 1063 | 42.1884
|  | 1062 | 42.273
|  | 1061 | 42.3309
|  | 1060 | 42.4057
|  | 1059 | 42.432
|  | 1058 | 42.4945
|  | 1057 | 42.5641
|  | 1056 | 42.6269
|  | 1055 | 42.7501
|  | 1054 | 42.774
|  | 1053 | 42.7627
|  | 1052 | 42.8407
|  | 1051 | 42.8894
|  | 1050 | 42.9337
|  | 1049 | 43.0347
|  | 1048 | 43.0615
|  | 1047 | 43.0956
|  | 1046 | 43.2087
|  | 1045 | 43.2332
|  | 1044 | 43.2693
|  | 1043 | 43.4169
|  | 1042 | 43.4785
|  | 1041 | 43.5012
|  | 1040 | 43.6413
|  | 1039 | 43.6734
|  | 1038 | 43.6863
|  | 1037 | 43.7834
|  | 1036 | 43.8918
|  | 1035 | 43.9557
|  | 1034 | 44.0035
|  | 1033 | 44.0188
|  | 1032 | 44.0841
|  | 1031 | 44.2463
|  | 1030 | 44.3207
|  | 1029 | 44.3418
|  | 1028 | 44.477
|  | 1027 | 44.5022
|  | 1026 | 44.5005
|  | 1025 | 44.6133
|  | 1024 | 44.7574
|  | 1023 | 44.8532
|  | 1022 | 44.9676
|  | 1021 | 44.9272
|  | 1020 | 44.9787
|  | 1019 | 45.1509
|  | 1018 | 45.2277
|  | 1017 | 45.2525
|  | 1016 | 45.3654
|  | 1015 | 45.3803
|  | 1014 | 45.4059
|  | 1013 | 45.5538
|  | 1012 | 45.6057
|  | 1011 | 45.6916
|  | 1010 | 45.8655
|  | 1009 | 45.9779
|  | 1008 | 45.961
|  | 1007 | 46.1022
|  | 1006 | 46.1646
|  | 1005 | 46.2529
|  | 1004 | 46.3525
|  | 1003 | 46.4264
|  | 1002 | 46.3626
|  | 1001 | 46.5082
|  | 1000 | 46.6953
|  | 999 | 46.7496
|  | 998 | 46.9197
|  | 997 | 46.9369
|  | 996 | 46.9481
|  | 995 | 47.1358
|  | 994 | 47.2609
|  | 993 | 47.3573
|  | 992 | 47.4715
|  | 991 | 47.5298
|  | 990 | 47.4989
|  | 989 | 47.6235
|  | 988 | 47.7364
|  | 987 | 47.8523
|  | 986 | 47.9888
|  | 985 | 48.0583
|  | 984 | 48.1084
|  | 983 | 48.3383
|  | 982 | 48.4316
|  | 981 | 48.4682
|  | 980 | 48.765
|  | 979 | 48.6147
|  | 978 | 48.6765
|  | 977 | 48.8889
|  | 976 | 48.9462
|  | 975 | 49.1267
|  | 974 | 49.2709
|  | 973 | 49.2591
|  | 972 | 49.3177
|  | 971 | 49.6218
|  | 970 | 49.6114
|  | 969 | 49.6885
|  | 968 | 49.9312
|  | 967 | 49.9369
|  | 966 | 49.9709
|  | 965 | 50.2609
|  | 964 | 50.292
|  | 963 | 50.3182
|  | 962 | 50.6101
|  | 961 | 50.6502
|  | 960 | 50.7591
|  | 959 | 50.9469
|  | 958 | 50.9287
|  | 957 | 51.0179
|  | 956 | 51.3748
|  | 955 | 51.4256
|  | 954 | 51.3964
|  | 953 | 51.7412
|  | 952 | 51.8414
|  | 951 | 51.6895
|  | 950 | 52.0705
|  | 949 | 52.2484
|  | 948 | 52.3933
|  | 947 | 52.5203
|  | 946 | 52.5181
|  | 945 | 52.6297
|  | 944 | 53.1233
|  | 943 | 52.8612
|  | 942 | 53.0502
|  | 941 | 53.095
|  | 940 | 53.3228
|  | 939 | 53.3094
|  | 938 | 53.6755
|  | 937 | 53.5962
|  | 936 | 53.7896
|  | 935 | 53.9741
|  | 934 | 53.9603
|  | 933 | 54.0602
|  | 932 | 54.5017
|  | 931 | 54.3065
|  | 930 | 54.7656
|  | 929 | 54.7347
|  | 928 | 54.8563
|  | 927 | 55.1045
|  | 926 | 55.3105
|  | 925 | 55.2694
|  | 924 | 55.2399
|  | 923 | 55.7633
|  | 922 | 55.8132
|  | 921 | 55.9593
|  | 920 | 56.4164
|  | 919 | 56.0607
|  | 918 | 56.3606
|  | 917 | 56.4706
|  | 916 | 57.0385
|  | 915 | 56.9988
|  | 914 | 56.9937
|  | 913 | 56.9298
|  | 912 | 57.3315
|  | 911 | 57.5613
|  | 910 | 57.5554
|  | 909 | 57.5909
|  | 908 | 57.945
|  | 907 | 57.7519
|  | 906 | 58.3225
|  | 905 | 58.3196
|  | 904 | 58.5546
|  | 903 | 58.7633
|  | 902 | 58.9341
|  | 901 | 58.4479
|  | 900 | 59.2035
|  | 899 | 59.4605
|  | 898 | 59.1866
|  | 897 | 59.7469
|  | 896 | 59.9881
|  | 895 | 59.7383
|  | 894 | 59.7605
|  | 893 | 60.2569
|  | 892 | 60.4284
|  | 891 | 60.6332
|  | 890 | 61.0853
|  | 889 | 60.9455
|  | 888 | 60.9798
|  | 887 | 61.3621
|  | 886 | 61.6936
|  | 885 | 61.3835
|  | 884 | 62.1035
|  | 883 | 62.2953
|  | 882 | 61.9489
|  | 881 | 62.5921
|  | 880 | 62.7037
|  | 879 | 63.2822
|  | 878 | 62.9568
|  | 877 | 63.5534
|  | 876 | 62.5193
|  | 875 | 63.6155
|  | 874 | 64.3719
|  | 873 | 63.6718
|  | 872 | 64.1312
|  | 871 | 64.4089
|  | 870 | 64.0894
|  | 869 | 65.5362
|  | 868 | 64.8716
|  | 867 | 65.2969
|  | 866 | 65.8248
|  | 865 | 66.0312
|  | 864 | 65.2729
|  | 863 | 66.1641
|  | 862 | 66.3337
|  | 861 | 65.6444
|  | 860 | 66.4455
|  | 859 | 66.4674
|  | 858 | 66.8493
|  | 857 | 66.6281
|  | 856 | 66.8887
|  | 855 | 66.8991
|  | 854 | 67.2291
|  | 853 | 67.1971
|  | 852 | 67.8129
|  | 851 | 67.9041
|  | 850 | 68.1298
|  | 849 | 68.2476
|  | 848 | 68.2904
|  | 847 | 68.7126
|  | 846 | 69.0054
|  | 845 | 68.8329
|  | 844 | 69.3222
|  | 843 | 69.3913
|  | 842 | 69.5011
|  | 841 | 70.0063
|  | 840 | 69.9205
|  | 839 | 70.3707
|  | 838 | 70.7249
|  | 837 | 70.609
|  | 836 | 70.7712
|  | 835 | 71.0077
|  | 834 | 71.4294
|  | 833 | 71.5274
|  | 832 | 71.7691
|  | 831 | 71.8019
|  | 830 | 72.2711
|  | 829 | 72.3594
|  | 828 | 72.5057
|  | 827 | 72.7021
|  | 826 | 72.9647
|  | 825 | 73.206
|  | 824 | 73.3013
|  | 823 | 73.6548
|  | 822 | 73.6515
|  | 821 | 73.7228
|  | 820 | 74.183
|  | 819 | 74.3823
|  | 818 | 74.7645
|  | 817 | 74.868
|  | 816 | 75.0583
|  | 815 | 75.2006
|  | 814 | 75.5335
|  | 813 | 75.8196
|  | 812 | 75.9231
|  | 811 | 76.1413
|  | 810 | 76.3523
|  | 809 | 76.4189
|  | 808 | 76.6927
|  | 807 | 76.8833
|  | 806 | 76.9041
|  | 805 | 77.1179
|  | 804 | 77.5497
|  | 803 | 77.764
|  | 802 | 77.9067
|  | 801 | 78.1893
|  | 800 | 78.1872
|  | 799 | 78.445
|  | 798 | 78.6606
|  | 797 | 78.9889
|  | 796 | 79.1718
|  | 795 | 79.2904
|  | 794 | 79.4896
|  | 793 | 79.6658
|  | 792 | 79.9619
|  | 791 | 80.1096
|  | 790 | 80.1778
|  | 789 | 80.4411
|  | 788 | 80.7012
|  | 787 | 81.0365
|  | 786 | 81.1141
|  | 785 | 81.3212
|  | 784 | 81.5615
|  | 783 | 81.7316
|  | 782 | 81.9716
|  | 781 | 82.1441
|  | 780 | 82.3116
|  | 779 | 82.4252
|  | 778 | 82.6841
|  | 777 | 82.8836
|  | 776 | 83.1308
|  | 775 | 83.2479
|  | 774 | 83.4078
|  | 773 | 83.6179
|  | 772 | 83.8217
|  | 771 | 83.9525
|  | 770 | 84.1444
|  | 769 | 84.3961
|  | 768 | 84.447
|  | 767 | 84.6577
|  | 766 | 84.9441
|  | 765 | 85.1607
|  | 764 | 85.3157
|  | 763 | 85.5083
|  | 762 | 85.5778
|  | 761 | 85.6767
|  | 760 | 85.7231
|  | 759 | 86.0372
|  | 758 | 86.2511
|  | 757 | 86.3496
|  | 756 | 86.5032
|  | 755 | 86.639
|  | 754 | 86.8592
|  | 753 | 87.0995
|  | 752 | 87.1436
|  | 751 | 87.2639
|  | 750 | 87.3872
|  | 749 | 87.5059
|  | 748 | 87.7499
|  | 747 | 87.9035
|  | 746 | 88.0078
|  | 745 | 88.1306
|  | 744 | 88.2607
|  | 743 | 88.5211
|  | 742 | 88.554
|  | 741 | 88.6284
|  | 740 | 88.8876
|  | 739 | 88.9955
|  | 738 | 89.0755
|  | 737 | 89.1819
|  | 736 | 89.4191
|  | 735 | 89.5876
|  | 734 | 89.6414
|  | 733 | 89.6562
|  | 732 | 89.7644
|  | 731 | 90.0106
|  | 730 | 90.0727
|  | 729 | 90.0918
|  | 728 | 90.2349
|  | 727 | 90.3905
|  | 726 | 90.4873
|  | 725 | 90.6003
|  | 724 | 90.6813
|  | 723 | 90.7683
|  | 722 | 90.9924
|  | 721 | 91.0729
|  | 720 | 91.0873
|  | 719 | 91.1588
|  | 718 | 91.2672
|  | 717 | 91.2885
|  | 716 | 91.3476
|  | 715 | 91.3772
|  | 714 | 91.4637
|  | 713 | 91.6525
|  | 712 | 91.6945
|  | 711 | 91.7632
|  | 710 | 91.8558
|  | 709 | 91.9249
|  | 708 | 92.0743
|  | 707 | 92.1061
|  | 706 | 92.0528
|  | 705 | 92.0969
|  | 704 | 92.2243
|  | 703 | 92.2308
|  | 702 | 92.278
|  | 701 | 92.3016
|  | 700 | 92.3452
|  | 699 | 92.4939
|  | 698 | 92.4997
|  | 697 | 92.4749
|  | 696 | 92.564
|  | 695 | 92.5883
|  | 694 | 92.6433
|  | 693 | 92.7536
|  | 692 | 92.766
|  | 691 | 92.7836
|  | 690 | 92.7581
|  | 689 | 92.7944
|  | 688 | 92.8126
|  | 687 | 92.7841
|  | 686 | 92.8417
|  | 685 | 92.9132
|  | 684 | 92.8746
|  | 683 | 92.8888
|  | 682 | 92.879
|  | 681 | 92.8739
|  | 680 | 92.901
|  | 679 | 92.9045
|  | 678 | 92.9261
|  | 677 | 92.9881
|  | 676 | 93.0139
|  | 675 | 92.9844
|  | 674 | 92.9778
|  | 673 | 93.0046
|  | 672 | 93.0448
|  | 671 | 93.0134
|  | 670 | 93.0229
|  | 669 | 93.0093
|  | 668 | 92.989
|  | 667 | 92.9204
|  | 666 | 92.9323
|  | 665 | 92.9745
|  | 664 | 92.9566
|  | 663 | 92.9577
|  | 662 | 92.8729
|  | 661 | 92.8482
|  | 660 | 92.9794
|  | 659 | 92.9726
|  | 658 | 92.9305
|  | 657 | 92.896
|  | 656 | 92.8651
|  | 655 | 92.8249
|  | 654 | 92.8273
|  | 653 | 92.7613
|  | 652 | 92.7414
|  | 651 | 92.7828
|  | 650 | 92.7403
|  | 649 | 92.7135
|  | 648 | 92.7331
|  | 647 | 92.7188
|  | 646 | 92.6731
|  | 645 | 92.6643
|  | 644 | 92.6203
|  | 643 | 92.6063
|  | 642 | 92.5805
|  | 641 | 92.509
|  | 640 | 92.5416
|  | 639 | 92.6117
|  | 638 | 92.5375
|  | 637 | 92.4807
|  | 636 | 92.4943
|  | 635 | 92.5004
|  | 634 | 92.4442
|  | 633 | 92.4145
|  | 632 | 92.4247
|  | 631 | 92.3591
|  | 630 | 92.3042
|  | 629 | 92.3767
|  | 628 | 92.3289
|  | 627 | 92.2891
|  | 626 | 92.2635
|  | 625 | 92.32
|  | 624 | 92.2752
|  | 623 | 92.2992
|  | 622 | 92.2202
|  | 621 | 92.1791
|  | 620 | 92.2357
|  | 619 | 92.2352
|  | 618 | 92.2299
|  | 617 | 92.1764
|  | 616 | 92.2419
|  | 615 | 92.2242
|  | 614 | 92.2061
|  | 613 | 92.1864
|  | 612 | 92.1331
|  | 611 | 92.1723
|  | 610 | 92.1814
|  | 609 | 92.2075
|  | 608 | 92.1509
|  | 607 | 92.1278
|  | 606 | 92.0787
|  | 605 | 92.1424
|  | 604 | 92.1527
|  | 603 | 92.185
|  | 602 | 92.185
|  | 601 | 92.1874
|  | 600 | 92.1797
|  | 599 | 92.0992
|  | 598 | 92.0615
|  | 597 | 92.0974
|  | 596 | 92.2266
|  | 595 | 92.2278
|  | 594 | 92.2363
|  | 593 | 92.2945
|  | 592 | 92.2399
|  | 591 | 92.1635
|  | 590 | 92.2368
|  | 589 | 92.3086
|  | 588 | 92.3328
|  | 587 | 92.2723
|  | 586 | 92.2084
|  | 585 | 92.2882
|  | 584 | 92.4222
|  | 583 | 92.4256
|  | 582 | 92.4541
|  | 581 | 92.4251
|  | 580 | 92.4156
|  | 579 | 92.4494
|  | 578 | 92.5393
|  | 577 | 92.5007
|  | 576 | 92.5303
|  | 575 | 92.5689
|  | 574 | 92.6201
|  | 573 | 92.768
|  | 572 | 92.679
|  | 571 | 92.7462
|  | 570 | 92.7791
|  | 569 | 92.8018
|  | 568 | 92.841
|  | 567 | 92.8157
|  | 566 | 92.8269
|  | 565 | 93.0169
|  | 564 | 93.0963
|  | 563 | 92.9369
|  | 562 | 93.0031
|  | 561 | 92.9986
|  | 560 | 92.951
|  | 559 | 93.0373
|  | 558 | 93.0715
|  | 557 | 93.1463
|  | 556 | 93.1618
|  | 555 | 93.1966
|  | 554 | 93.3332
|  | 553 | 93.2686
|  | 552 | 93.2843
|  | 551 | 93.3417
|  | 550 | 93.3154
|  | 549 | 93.3665
|  | 548 | 93.3877
|  | 547 | 93.4677
|  | 546 | 93.5605
|  | 545 | 93.5787
|  | 544 | 93.5524
|  | 543 | 93.5888
|  | 542 | 93.6331
|  | 541 | 93.708
|  | 540 | 93.6298
|  | 539 | 93.7093
|  | 538 | 93.6518
|  | 537 | 93.7124
|  | 536 | 93.7036
|  | 535 | 93.7227
|  | 534 | 93.7184
|  | 533 | 93.8642
|  | 532 | 93.8004
|  | 531 | 93.7779
|  | 530 | 93.832
|  | 529 | 93.9291
|  | 528 | 93.8644
|  | 527 | 93.8374
|  | 526 | 93.8492
|  | 525 | 93.836
|  | 524 | 93.8536
|  | 523 | 93.8829
|  | 522 | 93.9172
|  | 521 | 93.8251
|  | 520 | 93.8597
|  | 519 | 93.9197
|  | 518 | 93.8463
|  | 517 | 93.8663
|  | 516 | 93.7273
|  | 515 | 93.8308
|  | 514 | 93.8112
|  | 513 | 93.7997
|  | 512 | 93.8351
|  | 511 | 93.8153
|  | 510 | 93.7362
|  | 509 | 93.7225
|  | 508 | 93.6995
|  | 507 | 93.6067
|  | 506 | 93.5271
|  | 505 | 93.5492
|  | 504 | 93.4123
|  | 503 | 93.3973
|  | 502 | 93.3038
|  | 501 | 93.374
|  | 500 | 93.2176
|  | 499 | 93.2702
|  | 498 | 93.2894
|  | 497 | 93.141
|  | 496 | 93.0175
|  | 495 | 92.9533
|  | 494 | 92.8937
|  | 493 | 92.8974
|  | 492 | 92.6302
|  | 491 | 92.7139
|  | 490 | 92.572
|  | 489 | 92.4144
|  | 488 | 92.4245
|  | 487 | 92.4849
|  | 486 | 92.3024
|  | 485 | 92.2147
|  | 484 | 92.1882
|  | 483 | 91.9143
|  | 482 | 91.8694
|  | 481 | 91.9551
|  | 480 | 91.7088
|  | 479 | 91.621
|  | 478 | 91.5363
|  | 477 | 91.4042
|  | 476 | 91.3686
|  | 475 | 91.3679
|  | 474 | 91.2079
|  | 473 | 91.1249
|  | 472 | 91.0446
|  | 471 | 90.9914
|  | 470 | 90.8022
|  | 469 | 90.7956
|  | 468 | 90.6155
|  | 467 | 90.5668
|  | 466 | 90.5206
|  | 465 | 90.4859
|  | 464 | 90.3154
|  | 463 | 90.292
|  | 462 | 90.1895
|  | 461 | 90.0522
|  | 460 | 89.992
|  | 459 | 89.8471
|  | 458 | 89.8074
|  | 457 | 89.7405
|  | 456 | 89.5579
|  | 455 | 89.4395
|  | 454 | 89.4086
|  | 453 | 89.2658
|  | 452 | 89.1995
|  | 451 | 89.2737
|  | 450 | 89.145
|  | 449 | 89.0268
|  | 448 | 88.9656
|  | 447 | 88.8764
|  | 446 | 88.8202
|  | 445 | 88.7586
|  | 444 | 88.7789
|  | 443 | 88.7568
|  | 442 | 88.6541
|  | 441 | 88.6435
|  | 440 | 88.5606
|  | 439 | 88.5067
|  | 438 | 88.4263
|  | 437 | 88.3207
|  | 436 | 88.3521
|  | 435 | 88.2788
|  | 434 | 88.2526
|  | 433 | 88.1568
|  | 432 | 88.0911
|  | 431 | 88.118
|  | 430 | 88.114
|  | 429 | 88.0959
|  | 428 | 87.9887
|  | 427 | 87.9535
|  | 426 | 87.9128
|  | 425 | 87.9046
|  | 424 | 87.8919
|  | 423 | 87.7722
|  | 422 | 87.5955
|  | 421 | 87.6602
|  | 420 | 87.5098
|  | 419 | 87.5336
|  | 418 | 87.4765
|  | 417 | 87.3785
|  | 416 | 87.2731
|  | 415 | 87.1395
|  | 414 | 87.0347
|  | 413 | 86.9351
|  | 412 | 86.7944
|  | 411 | 86.5357
|  | 410 | 86.4373
|  | 409 | 86.2575
|  | 408 | 85.9855
|  | 407 | 85.8142
|  | 406 | 85.5491
|  | 405 | 85.4526
|  | 404 | 85.1239
|  | 403 | 84.8537
|  | 402 | 84.5731
|  | 401 | 84.1217
|  | 400 | 83.6866
|  | 399 | 83.3125
|  | 398 | 82.9753
|  | 397 | 82.5678
|  | 396 | 82.0907
|  | 395 | 81.6055
|  | 394 | 81.1673
|  | 393 | 80.4649
|  | 392 | 80.0053
|  | 391 | 79.3682
|  | 390 | 78.7141
|  | 389 | 78.0398
|  | 388 | 77.3501
|  | 387 | 76.5539
|  | 386 | 75.7733
|  | 385 | 74.9455
|  | 384 | 74.0567
|  | 383 | 73.1781
|  | 382 | 72.2827
|  | 381 | 71.2946
|  | 380 | 70.2409
|  | 379 | 69.205
|  | 378 | 68.0649
|  | 377 | 66.7767
|  | 376 | 65.7578
|  | 375 | 64.7617
|  | 374 | 63.5676
|  | 373 | 62.2123
|  | 372 | 61.109
|  | 371 | 59.8924
|  | 370 | 58.6888
|  | 369 | 57.3809
|  | 368 | 56.0719
|  | 367 | 54.8278
|  | 366 | 53.442
|  | 365 | 52.0035
|  | 364 | 50.6726
|  | 363 | 49.4502
|  | 362 | 48.0752
|  | 361 | 46.7097
|  | 360 | 45.2916
|  | 359 | 43.7921
|  | 358 | 42.2674
|  | 357 | 40.8659
|  | 356 | 39.5073
|  | 355 | 38.1211
|  | 354 | 36.6982
|  | 353 | 35.294
|  | 352 | 33.7029
|  | 351 | 32.2163
|  | 350 | 30.8102
|  | 349 | 29.2125
|  | 348 | 27.6669
|  | 347 | 26.1775
|  | 346 | 24.6755
|  | 345 | 23.1753
|  | 344 | 21.7047
|  | 343 | 20.2158
|  | 342 | 18.7121
|  | 341 | 17.2534
|  | 340 | 15.8351
|  | 339 | 14.4351
|  | 338 | 13.0878
|  | 337 | 11.792
|  | 336 | 10.5036
|  | 335 | 9.2445
|  | 334 | 8.1066
|  | 333 | 7.0572
|  | 332 | 6.1249
|  | 331 | 5.2362
|  | 330 | 4.3767
|  | 329 | 3.5992
|  | 328 | 2.9282
|  | 327 | 2.3386
|  | 326 | 1.8154
|  | 325 | 1.4245
|  | 324 | 1.0871
|  | 323 | 0.7898
|  | 322 | 0.56892
|  | 321 | 0.41944
|  | 320 | 0.29169
|  | 319 | 0.19468
|  | 318 | 0.12822
|  | 317 | 0.0635
|  | 316 | 0.03686
|  | 315 | 0.00968
|  | 314 | 0.00309
|  | 313 | 0.02164
|  | 312 | 0.01547
|  | 311 | 0.01551
|  | 310 | 0.000889
|  | 309 | 0.00979
|  | 308 | 0.0352
|  | 307 | 0.04343
|  | 306 | 0.02697
|  | 305 | 0.01082
|  | 304 | 0.01898
|  | 303 | 0.01947
|  | 302 | 0.02674
|  | 301 | 0.01136
|  | 300 | 0.0488

## Axial Color Correction
TL4X-SAP Axial Color Correction
|  | Wavelength (nm) | Axial Focal Shift (mm)
|  |  | Measured | Theoretical
|  | 406 | 0
|  | 473 | -0.001
|  | 488 | -0.002
|  | 520 | -0.004
Product Raw Data |  | 532 | -0.002
Thorlabs Super Apochromatic Microscope Objective, 4X Magnification |  | 593 | -0.003
|  | 635 | -0.001
Item # | TL4X-SAP | 658 | -0.002
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 685 | -0.011
|  | 780 | -0.017
|  | 400 |  | 2.7048e-14
|  | 442.22 |  | 0.00128
|  | 484.44 |  | 0.00072598
|  | 526.67 |  | 2.8305e-05
This data may be used in publications. However, please cite Thorlabs as the source. |  | 568.89 |  | -0.00056789
|  | 611.11 |  | -0.0011
|  | 653.33 |  | -0.00166
Additional Information: |  | 695.56 |  | -0.00227
|  | 737.78 |  | -0.00297
|  | 780 |  | -0.00377

## Strehl Ratio
TL4X-SAP Strehl Ratio
|  | Field (°) | Strehl Ratio
|  |  | Measured | Theoretical
|  | 3 | 0.887
|  | 2 | 0.885
|  | 0 | 0.925
|  | -2 | 0.898
Product Raw Data |  | -3 | 0.813
Thorlabs Super Apochromatic Microscope Objective, 4X Magnification |  | -3 |  | 0.86451
|  | -2.3333 |  | 0.91796
Item # | TL4X-SAP | -1.6667 |  | 0.95339
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | -1 |  | 0.97358
|  | -0.33333 |  | 0.97867
|  | 0.33333 |  | 0.97867
|  | 1 |  | 0.97358
|  | 1.6667 |  | 0.95339
|  | 2.3333 |  | 0.91796
This data may be used in publications. However, please cite Thorlabs as the source. |  | 3 |  | 0.86451
Additional Information:

## Strehl Ratio vs. Wavelength
TL4X-SAP Strehl Ratio
|  | Wavelength (nm) | Strehl Ratio
|  |  | On Axis | 1° Off Axis | 2° Off Axis | 3.25° Off Axis
|  | 400 | 0.8191 | 0.8391 | 0.8485 | 0.738
|  | 408.75 | 0.8808 | 0.8925 | 0.8872 | 0.7906
|  | 417.5 | 0.9159 | 0.9219 | 0.9059 | 0.8178
|  | 426.25 | 0.9352 | 0.9379 | 0.9152 | 0.8308
Product Raw Data |  | 435 | 0.9451 | 0.9467 | 0.9206 | 0.8364
Thorlabs Super Apochromatic Microscope Objective, 4X Magnification |  | 443.75 | 0.9492 | 0.9514 | 0.9245 | 0.8381
|  | 452.5 | 0.9494 | 0.9533 | 0.9277 | 0.8379
Item # | TL4X-SAP | 461.25 | 0.9468 | 0.9532 | 0.9303 | 0.8367
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 470 | 0.9422 | 0.9514 | 0.9322 | 0.8348
|  | 478.75 | 0.9359 | 0.9481 | 0.9333 | 0.8326
|  | 487.5 | 0.9285 | 0.9438 | 0.9336 | 0.83
|  | 496.25 | 0.9206 | 0.9386 | 0.9331 | 0.8275
|  | 505 | 0.9124 | 0.9331 | 0.932 | 0.825
|  | 513.75 | 0.9046 | 0.9275 | 0.9306 | 0.8229
This data may be used in publications. However, please cite Thorlabs as the source. |  | 522.5 | 0.8974 | 0.9222 | 0.929 | 0.8213
|  | 531.25 | 0.8912 | 0.9176 | 0.9275 | 0.8204
|  | 540 | 0.8863 | 0.9138 | 0.9264 | 0.8203
Additional Information: |  | 548.75 | 0.8829 | 0.9112 | 0.9258 | 0.8211
|  | 557.5 | 0.881 | 0.9098 | 0.9258 | 0.8229
|  | 566.25 | 0.8808 | 0.9097 | 0.9265 | 0.8257
|  | 575 | 0.8822 | 0.9109 | 0.9279 | 0.8295
|  | 583.75 | 0.8853 | 0.9135 | 0.9301 | 0.8341
|  | 592.5 | 0.8898 | 0.9172 | 0.9328 | 0.8396
|  | 601.25 | 0.8958 | 0.922 | 0.9361 | 0.8456
|  | 610 | 0.9029 | 0.9277 | 0.9396 | 0.8522
|  | 618.75 | 0.911 | 0.9341 | 0.9433 | 0.8589
|  | 627.5 | 0.9198 | 0.9409 | 0.9468 | 0.8657
|  | 636.25 | 0.929 | 0.9478 | 0.95 | 0.8721
|  | 645 | 0.9383 | 0.9545 | 0.9524 | 0.878
|  | 653.75 | 0.9473 | 0.9607 | 0.9539 | 0.8829
|  | 662.5 | 0.9558 | 0.966 | 0.954 | 0.8867
|  | 671.25 | 0.9632 | 0.9701 | 0.9525 | 0.8888
|  | 680 | 0.9692 | 0.9725 | 0.9491 | 0.8891
|  | 688.75 | 0.9735 | 0.973 | 0.9434 | 0.8871
|  | 697.5 | 0.9755 | 0.9711 | 0.9352 | 0.8827
|  | 706.25 | 0.975 | 0.9665 | 0.9243 | 0.8755
|  | 715 | 0.9716 | 0.959 | 0.9104 | 0.8654
|  | 723.75 | 0.9649 | 0.9483 | 0.8935 | 0.8521
|  | 732.5 | 0.9548 | 0.9342 | 0.8733 | 0.8356
|  | 741.25 | 0.9411 | 0.9165 | 0.85 | 0.8158
|  | 750 | 0.9235 | 0.8952 | 0.8236 | 0.7928