## T125822
SN: | T125822
Item #: | TT600R3S1B
Item Description: | 1x2 600 µm Core 75:25 Multimode Fiber Optic Coupler, Low OH
Fiber Type: | Thorlabs FT600EMT
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 650
Insertion Loss (dB): | -1.79
Coupling Ratio (%): | 76.6
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 650
Insertion Loss (dB): | -6.94
Coupling Ratio (%): | 23.4