## SM Wavelength
Wavelength in Single Mode Regions
|  |  | Measured Wavelength | [13 empty] | Single Mode Trendlines
|  |  | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm) | Current (mA) | Change in Center Wavelength (nm)
|  |  | 202 | -12 | 340 | -16 | 452 | -12 | 546 | -8 | 628 | -8 | 702 | -4 | 768 | -4 | 207 | -12 | 340 | -16 | 452 | -12 | 547 | -8 | 628 | -8 | 704 | -4 | 770 | -4
|  |  | 204 | -12 | 342 | -12 | 454 | -8 | 548 | -8 | 630 | -4 | 704 | -4 | 770 | -4 | 223 | -8 | 344 | -12 | 458 | -8 | 556 | -4 | 634 | -4 | 713 | 0 | 777 | 0
|  |  | 206 | -12 | 344 | -12 | 456 | -8 | 550 | -4 | 632 | -4 | 706 | -4 | 772 | -4 | 247 | -4 | 354 | -8 | 471 | -4 | 572 | 0 | 646 | 0 | 728 | 4 | 789 | 4
|  |  | 208 | -12 | 346 | -12 | 458 | -8 | 552 | -4 | 634 | -4 | 708 | 0 | 774 | 0 | 280 | 0 | 371 | -4 | 490 | 0 | 594 | 4 | 663 | 4 | 749 | 8 | 799 | 8
Product Raw Data |  |  | 210 | -12 | 348 | -8 | 460 | -8 | 554 | -4 | 636 | -4 | 710 | 0 | 776 | 0 | 319 | 4 | 395 | 0 | 514 | 4 | 616 | 8 | 685 | 8
ULN Laser, Current Tuning, Extended Butterfly Package, PM Fiber |  |  | 212 | -12 | 350 | -8 | 462 | -8 | 556 | -4 | 638 | -4 | 712 | 0 | 778 | 0 |  |  | 425 | 4 | 536 | 8
|  |  | 214 | -8 | 352 | -8 | 464 | -4 | 558 | -4 | 640 | 0 | 714 | 0 | 780 | 0 |  |  | 445 | 8
Item # | ULN15PC |  | 216 | -8 | 354 | -8 | 466 | -4 | 560 | -4 | 642 | 0 | 716 | 0 | 782 | 4
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  |  | 218 | -8 | 356 | -8 | 468 | -4 | 562 | -4 | 644 | 0 | 718 | 0 | 784 | 4
|  |  | 220 | -8 | 358 | -8 | 470 | -4 | 564 | 0 | 646 | 0 | 720 | 4 | 786 | 4
|  |  | 222 | -8 | 360 | -8 | 472 | -4 | 566 | 0 | 648 | 0 | 722 | 4 | 788 | 4
|  |  | 224 | -8 | 362 | -4 | 474 | -4 | 568 | 0 | 650 | 0 | 724 | 4 | 790 | 4
|  |  | 226 | -8 | 364 | -4 | 476 | -4 | 570 | 0 | 652 | 0 | 726 | 4 | 792 | 4
|  |  | 228 | -8 | 366 | -4 | 478 | -4 | 572 | 0 | 654 | 4 | 728 | 4 | 794 | 4
This data may be used in publications. However, please cite Thorlabs as the source. |  |  | 230 | -8 | 368 | -4 | 480 | 0 | 574 | 0 | 656 | 4 | 730 | 4 | 796 | 4
|  |  | 232 | -8 | 370 | -4 | 482 | 0 | 576 | 0 | 658 | 4 | 732 | 4 | 798 | 8
|  |  | 234 | -4 | 372 | -4 | 484 | 0 | 578 | 0 | 660 | 4 | 734 | 4 | 800 | 8
Additional Information: |  |  | 236 | -4 | 374 | -4 | 486 | 0 | 580 | 0 | 662 | 4 | 736 | 4
Within single mode operating regions, the center wavelength will shift with current. Each trendline indicates a region of single mode performance. The stepping structure of the measured data is due to the resolution of the optical spectrum analyzer used to take the measurement; the change in wavelength is smooth when in single mode operation. |  |  | 238 | -4 | 376 | -4 | 488 | 0 | 582 | 4 | 664 | 4 | 738 | 8
|  |  | 240 | -4 | 378 | -4 | 490 | 0 | 584 | 4 | 666 | 4 | 740 | 8
|  |  | 242 | -4 | 380 | -4 | 492 | 0 | 586 | 4 | 668 | 4 | 742 | 8
|  |  | 244 | -4 | 382 | 0 | 494 | 0 | 588 | 4 | 670 | 4 | 744 | 8
|  |  | 246 | -4 | 384 | 0 | 496 | 0 | 590 | 4 | 672 | 4 | 746 | 8
|  |  | 248 | -4 | 386 | 0 | 498 | 0 | 592 | 4 | 674 | 8 | 748 | 8
|  |  | 250 | -4 | 388 | 0 | 500 | 0 | 594 | 4 | 676 | 8 | 750 | 8
|  |  | 252 | -4 | 390 | 0 | 502 | 4 | 596 | 4 | 678 | 8 | 752 | 8
|  |  | 254 | -4 | 392 | 0 | 504 | 4 | 598 | 4 | 680 | 8 | 754 | 8
|  |  | 256 | -4 | 394 | 0 | 506 | 4 | 600 | 4 | 682 | 8 | 756 | 8
|  |  | 258 | -4 | 396 | 0 | 508 | 4 | 602 | 4 | 684 | 8 | 758 | 8
|  |  | 260 | -4 | 398 | 0 | 510 | 4 | 604 | 4 | 686 | 8 | 760 | 8
|  |  | 262 | 0 | 400 | 0 | 512 | 4 | 606 | 4 | 688 | 8
|  |  | 264 | 0 | 402 | 0 | 514 | 4 | 608 | 8 | 690 | 8
|  |  | 266 | 0 | 404 | 0 | 516 | 4 | 610 | 8 | 692 | 8
|  |  | 268 | 0 | 406 | 0 | 518 | 4 | 612 | 8 | 694 | 8
|  |  | 270 | 0 | 408 | 0 | 520 | 4 | 614 | 8 | 696 | 8
|  |  | 272 | 0 | 410 | 4 | 522 | 4 | 616 | 8
|  |  | 274 | 0 | 412 | 4 | 524 | 4 | 618 | 8
|  |  | 276 | 0 | 414 | 4 | 526 | 4 | 620 | 8
|  |  | 278 | 0 | 416 | 4 | 528 | 8 | 622 | 8
|  |  | 280 | 0 | 418 | 4 | 530 | 8 | 624 | 8
|  |  | 282 | 0 | 420 | 4 | 532 | 8
|  |  | 284 | 0 | 422 | 4 | 534 | 8
|  |  | 286 | 0 | 424 | 4 | 536 | 8
|  |  | 288 | 0 | 426 | 4 | 538 | 8
|  |  | 290 | 0 | 428 | 4 | 540 | 8
|  |  | 292 | 0 | 430 | 4 | 542 | 8
|  |  | 294 | 0 | 432 | 4 | 544 | 8
|  |  | 296 | 0 | 434 | 4
|  |  | 298 | 0 | 436 | 4
|  |  | 300 | 4 | 438 | 4
|  |  | 302 | 4 | 440 | 4
|  |  | 304 | 4 | 442 | 8
|  |  | 306 | 4 | 444 | 8
|  |  | 308 | 4 | 446 | 8
|  |  | 310 | 4 | 448 | 8
|  |  | 312 | 4
|  |  | 314 | 4
|  |  | 316 | 4
|  |  | 318 | 4
|  |  | 320 | 4
|  |  | 322 | 4
|  |  | 324 | 4
|  |  | 326 | 4
|  |  | 328 | 4
|  |  | 330 | 4
|  |  | 332 | 4
|  |  | 334 | 4
|  |  | 336 | 4
|  |  | 338 | 4