## LI Curves
Single Mode Operating Regions
|  | Current (mA) | Power (mW)
|  |  | Increasing Current | Decreasing Current
|  | 82 |  | 11.876
|  | 84 |  | 12.432
|  | 86 |  | 12.973
|  | 88 |  | 13.441
Product Raw Data |  | 90 | 13.868 | 13.836
ULN Laser, Temperature Tuning, Extended Butterfly Package, PM Fiber |  | 92 | 14.527 | 14.337
|  | 94 | 15.142 | 14.808
Item # | ULN15PT | 96 | 15.783 | 15.21
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 98 |  | 15.652
|  | 100 |  | 16.119
|  | 102 |  | 16.6
|  | 104 |  | 16.984
|  | 106 |  | 17.464
|  | 108 |  | 17.902
This data may be used in publications. However, please cite Thorlabs as the source. |  | 110 |  | 18.324
|  | 112 |  | 18.796
|  | 114 |  | 19.304
Additional Information: |  | 116 |  | 19.694
Data represents a typical ULN15PT ultra-low-noise laser with its case temperature and chip temperature at 25 °C. Users should reference the laser's serialized data sheet to see the drive currents that provide stable single mode operation for their particular device. |  | 118 |  | 20.23
|  | 120 |  | 20.588
|  | 122 |  | 21.135
|  | 124 |  | 21.641
|  | 126 |  | 22.166
|  | 128 |  | 22.539
|  | 130 |  | 23.028
|  | 132 |  | 23.511
|  | 134 |  | 24.018
|  | 136 |  | 24.551
|  | 138 |  | 25.165
|  | 140 |  | 25.681
|  | 142 |  | 26.219
|  | 144 |  | 26.651
|  | 146 |  | 27.258
|  | 148 | 27.849 | 27.756
|  | 150 | 28.561 | 28.331
|  | 152 | 29.031 | 28.906
|  | 154 | 29.673 | 29.481
|  | 156 | 30.224 | 30.122
|  | 158 | 30.92 | 30.685
|  | 160 | 31.532 | 31.252
|  | 162 | 32.069 | 31.847
|  | 164 | 32.711 | 32.582
|  | 166 | 33.355 | 33.11
|  | 168 | 33.947 | 33.871
|  | 170 | 34.635 | 34.384
|  | 172 | 35.201 | 35.031
|  | 174 | 35.98 | 35.827
|  | 176 | 36.563 | 36.482
|  | 178 | 37.173 | 37.022
|  | 180 | 37.987 | 37.688
|  | 182 | 38.574 | 38.355
|  | 184 | 39.27 | 39.174
|  | 186 | 39.973 | 39.727
|  | 188 | 40.689 | 40.536
|  | 190 | 41.503 | 41.148
|  | 192 | 42.208 | 41.822
|  | 194 |  | 42.606
196
198
200
202
204
206
208
210
212
214
216
218
220
222
224
226
228
230
232
234
236
238
240
242
244
246
248
250
252
254
|  | 256 |  | 61.587
|  | 258 |  | 59.541
|  | 260 |  | 58.599
|  | 262 |  | 57.922
|  | 264 |  | 57.883
|  | 266 |  | 57.644
|  | 268 |  | 57.686
|  | 270 |  | 58.206
|  | 272 |  | 57.992
|  | 274 |  | 58.532
|  | 276 |  | 58.507
|  | 278 |  | 59.196
|  | 280 |  | 59.378
|  | 282 | 60.318 | 60.057
|  | 284 | 60.41 | 60.378
|  | 286 | 61.207 | 60.962
|  | 288 | 61.585 | 61.308
|  | 290 | 62.512 | 61.996
|  | 292 | 62.962 | 62.7
|  | 294 | 63.823 | 63.233
|  | 296 | 64.276 | 64.008
|  | 298 | 65.204 | 64.888
|  | 300 | 65.826 | 65.643
|  | 302 | 66.424 | 66.261
|  | 304 | 67.341 | 67.033
|  | 306 | 68.018 | 67.712
|  | 308 | 68.948 | 68.785
|  | 310 | 69.906 | 69.466
|  | 312 | 70.534 | 70.105
|  | 314 | 71.655 | 70.945
|  | 316 | 72.35 | 71.902
|  | 318 | 73.432 | 72.826
|  | 320 | 74.17 | 73.549
|  | 322 |  | 74.674
324
326
328
330
332
334
336
338
340
342
344
346
348
350
352
354
356
358
360
362
364
366
368
370
372
374
376
|  | 378 |  | 87.862
|  | 380 |  | 86.619
|  | 382 |  | 85.476
|  | 384 |  | 85.224
|  | 386 |  | 84.838
|  | 388 |  | 85.056
|  | 390 |  | 85.056
|  | 392 |  | 85.174
|  | 394 |  | 85.325
|  | 396 |  | 86.115
|  | 398 |  | 86.535
|  | 400 |  | 87.072
|  | 402 | 87.66 | 87.912
|  | 404 | 88.433 | 88.114
|  | 406 | 89.576 | 88.92
|  | 408 | 90.483 | 90.012
|  | 410 | 91.457 | 91.071
|  | 412 | 92.196 | 91.625
|  | 414 | 93.019 | 92.616
|  | 416 | 94.229 | 93.557
|  | 418 | 95.002 | 94.851
|  | 420 | 96.279 | 95.791
|  | 422 | 97.371 | 96.564
|  | 424 | 98.463 | 97.942
|  | 426 |  | 98.731
428
430
432
434
436
438
440
442
444
446
448
450
452
454
456
458
460
462
464
466
468
470
472
474
|  | 476 |  | 109.685
|  | 478 |  | 107.484
|  | 480 |  | 106.224
|  | 482 |  | 105.72
|  | 484 |  | 105.132
|  | 486 |  | 105.35
|  | 488 |  | 105.552
|  | 490 | 106.325 | 106.09
|  | 492 | 107.064 | 106.711
|  | 494 | 108.055 | 107.198
|  | 496 | 108.475 | 108.173
|  | 498 | 109.265 | 108.727
|  | 500 | 110.373 | 109.937
|  | 502 | 111.331 | 110.609
|  | 504 | 112.809 | 111.969
|  | 506 | 113.75 | 112.742
|  | 508 | 114.59 | 114.019
|  | 510 | 115.917 | 115.481
|  | 512 | 117.026 | 116.438
|  | 514 | 119.143 | 117.799
516
518
520
522
524
526
528
530
532
534
536
538
540
542
544
546
548
550
552
554
556
558
|  | 560 |  | 128.299
|  | 562 |  | 124.519
|  | 564 |  | 122.788
|  | 566 |  | 122.402
|  | 568 |  | 121.428
|  | 570 |  | 121.999
|  | 572 |  | 122.032
|  | 574 | 122.772 | 122.469
|  | 576 | 123.578 | 123.108
|  | 578 | 124.956 | 123.981
|  | 580 | 125.527 | 125.14
|  | 582 | 126.552 | 126.081
|  | 584 | 127.845 | 127.358
|  | 586 | 129.122 | 128.45
|  | 588 | 130.567 | 129.76
|  | 590 | 132.045 | 131.239
|  | 592 | 133.439 | 132.415
|  | 594 |  | 134.263
596
598
600
602
604
606
608
610
612
614
616
618
620
622
624
626
628
630
632
634
|  | 636 |  | 138.849
|  | 638 |  | 135.674
|  | 640 |  | 135.153
|  | 642 |  | 134.699
|  | 644 |  | 135.002
|  | 646 |  | 134.75
|  | 648 | 136.161 | 135.338
|  | 650 | 136.883 | 136.463
|  | 652 | 138.53 | 137.27
|  | 654 | 139.605 | 138.899
|  | 656 | 140.613 | 139.454
|  | 658 | 142.259 | 140.966
|  | 660 | 143.183 | 142.091
|  | 662 | 144.695 | 143.939
|  | 664 |  | 145.619
666
668
670
672
674
676
678
680
682
684
686
688
690
692
694
696
698
700
702
|  | 704 |  | 148.122
|  | 706 |  | 146.106
|  | 708 |  | 144.678
|  | 710 |  | 144.695
|  | 712 |  | 145.216
|  | 714 |  | 145.787
|  | 716 | 146.526 | 146.577
|  | 718 | 148.055 | 147.45
|  | 720 | 149.113 | 148.525
|  | 722 | 150.609 | 150.071
|  | 724 | 152.541 | 151.163
|  | 726 | 154.052 | 152.994
|  | 728 |  | 154.573
730
732
734
736
738
740
742
744
746
748
750
752
754
756
758
760
762
|  | 764 |  | 159.008
|  | 766 |  | 154.388
|  | 768 |  | 152.641
|  | 770 |  | 151.835
|  | 772 |  | 151.734
|  | 774 |  | 152.641
|  | 776 |  | 153.129
|  | 778 | 154.405 | 154.304
|  | 780 | 155.867 | 155.766
|  | 782 | 157.412 | 156.64
|  | 784 | 159.445 | 158.152
|  | 786 |  | 159.949